GMP CSV Controlled Document

Supplier Audit Report and CAPA

QCLabOne 2.0 QC Laboratory Digital Platform Replacement Project

| Control Field | Value |
| --- | --- |
| Document number | QCL-2026-SAR-001 |
| System | QCLabOne 2.0 LIMS/LES |
| Lifecycle phase | Supplier Management |
| Version | 1.0 |
| Effective/record date | 2026-04-30 |
| Status | Approved in fictional case |

Use notice: This Markdown file is a fully populated fictional CSV training case. It is not an executed GMP record and does not replace company procedures, approved signatures, supplier evidence, or site-specific risk decisions.

# Document control

| Field | Value |
| --- | --- |
| Document number | QCL-2026-SAR-001 |
| Company | NovaSterile Pharma Co., Ltd. |
| Site | Suzhou Sterile Products Manufacturing Site |
| Project | QCLabOne 2.0 QC Laboratory Digital Platform Replacement Project |
| System | QCLabOne 2.0 LIMS/LES |
| Lifecycle phase | Supplier Management |
| Version | 1.0 |
| Effective/record date | 2026-04-30 |
| Case status | Approved in fictional case |

# Governing references

China GMP (2010 Revision), Appendix: Computerised Systems (effective 1 December 2015)

China GMP (2010 Revision), Appendix: Qualification and Validation (effective 1 December 2015)

EU GMP Annex 11: Computerised Systems (2011)

EU GMP Annex 15: Qualification and Validation (2015)

21 CFR Part 11: Electronic Records; Electronic Signatures

FDA Guidance: Part 11, Electronic Records; Electronic Signatures — Scope and Application

PIC/S PI 041-1: Good Practices for Data Management and Integrity in Regulated GMP/GDP Environments (2021)

ISPE GAMP 5, Second Edition (2022), used as non-binding industry guidance

# 1. Audit scope and method

A remote document review and on-site audit were conducted 2026-05-18 to 2026-05-20. Scope covered QMS, SDLC, validation, configuration management, cloud operations, data integrity, security, backup/DR, support, change notification, subcontractors and data return.

# 2. Summary

The supplier demonstrated an established QMS and controlled product lifecycle. No critical or major finding was identified. Two minor findings and one observation were issued.

# 3. Findings and CAPA

| ID | Class | Finding | Supplier CAPA | Due | Status |
| --- | --- | --- | --- | --- | --- |
| SA-F-01 | Minor | DR exercise report did not include application-level data/retrieval verification after infrastructure failover. | Supplier to add application login, sample retrieval, audit trail and interface health checks to 2026 DR protocol. | 2026-06-30 | Closed 2026-06-18 |
| SA-F-02 | Minor | Privileged access review was quarterly; proposed QCLabOne agreement requires monthly review of customer-tenant access. | Implement monthly customer-tenant privileged review and provide quarterly summary. | 2026-07-31 | Closed 2026-07-20 |
| SA-OBS-01 | Observation | Release notes did not consistently distinguish security-only changes from functional changes. | Add release-note field for GxP/security/customer action. | 2026-09-30 | Closed 2026-09-10 |

# 4. Evidence verified

Quality manual; organisation chart; training matrix; SDLC procedures; sample requirements/design/code/test records; release 8.4.2 qualification summary; change/CAPA logs; access-control procedure; vulnerability process; backup/restore and DR reports; incident examples; subcontractor register; customer data-return procedure.

# 5. Audit conclusion

Supplier qualification is approved after CAPA closure. The site will maintain annual performance review and may re-audit after significant ownership, hosting, QMS or adverse compliance change.

# 6. Related documents

| Relationship | Document ID | Document |
| --- | --- | --- |
| Input | QCL-2026-SQA-001 | [Supplier Qualification Assessment](018_Supplier_Qualification_Assessment.md) |
| Output | QCL-2026-QTA-001 | [Quality/Technical Agreement and Service Level Agreement](020_Quality_Technical_Agreement_and_SLA.md) |
| Output | QCL-2026-SDL-001 | [Supplier Documentation Leveraging Assessment](021_Supplier_Documentation_Leveraging_Assessment.md) |
| Output | QCL-2028-SPR-001 | [Supplier Periodic Performance and SLA Review](096_Supplier_Periodic_Performance_and_SLA_Review.md) |

# Approval record

| Approval step | Role | Case outcome |
| --- | --- | --- |
| Prepared by | Supplier Quality Lead | Completed |
| Reviewed by | IT System Owner | Completed |
| Approved by | QA Validation Manager | Approved in fictional case |

# Revision history

| Version | Date | Change |
| --- | --- | --- |
| 1.0 | 2026-04-30 | Initial approved fictional case version. |