GMP CSV Controlled Document

Configuration Item and Version Register

QCLabOne 2.0 QC Laboratory Digital Platform Replacement Project

| Control Field | Value |
| --- | --- |
| Document number | QCL-2026-CIR-001 |
| System | QCLabOne 2.0 LIMS/LES |
| Lifecycle phase | Build and Installation |
| Version | 1.0 |
| Effective/record date | 2026-12-20 |
| Status | Approved in fictional case |

Use notice: This Markdown file is a fully populated fictional CSV training case. It is not an executed GMP record and does not replace company procedures, approved signatures, supplier evidence, or site-specific risk decisions.

# Document control

| Field | Value |
| --- | --- |
| Document number | QCL-2026-CIR-001 |
| Company | NovaSterile Pharma Co., Ltd. |
| Site | Suzhou Sterile Products Manufacturing Site |
| Project | QCLabOne 2.0 QC Laboratory Digital Platform Replacement Project |
| System | QCLabOne 2.0 LIMS/LES |
| Lifecycle phase | Build and Installation |
| Version | 1.0 |
| Effective/record date | 2026-12-20 |
| Case status | Approved in fictional case |

# Governing references

China GMP (2010 Revision), Appendix: Computerised Systems (effective 1 December 2015)

China GMP (2010 Revision), Appendix: Qualification and Validation (effective 1 December 2015)

EU GMP Annex 11: Computerised Systems (2011)

EU GMP Annex 15: Qualification and Validation (2015)

21 CFR Part 11: Electronic Records; Electronic Signatures

FDA Guidance: Part 11, Electronic Records; Electronic Signatures — Scope and Application

PIC/S PI 041-1: Good Practices for Data Management and Integrity in Regulated GMP/GDP Environments (2021)

ISPE GAMP 5, Second Edition (2022), used as non-binding industry guidance

# 1. Purpose

This register identifies controlled software, configuration, code, templates and schemas that form the validated production baseline.

# 2. Configuration-item register

| CI ID | Item | Approved version | Location | Identifier/checksum | Owner | Change control |
| --- | --- | --- | --- | --- | --- | --- |
| CI-001 | LabSphere LIMS/LES | 8.4.2-HF1 | Production/Validation | Supplier release package | System Owner | QCL-2026 |
| CI-002 | PostgreSQL managed database | 15.5 | Production | Supplier platform | Supplier Cloud Owner | QCL-2026 |
| CI-003 | Interface Gateway | 3.6.1 | QCL-IGW-01 | MSI SHA-256 73bc...11af | IT System Owner | QCL-2026 |
| CI-004 | Windows Server | 2022 build 20348 | QCL-IGW-01 | Corporate golden image 2026.11 | IT Infrastructure | QCL-2026 |
| CI-005 | SAP connector | 2.1.0 | Gateway | Git tag qcl-sap-v2.1.0 | Integration Lead | QCL-2026 |
| CI-006 | eQMS connector | 1.4.1 | Gateway | Git tag qcl-eqm-v1.4.1 | Integration Lead | QCL-2026 |
| CI-007 | CDS connector | 2.3.0 | Gateway | Git tag qcl-cds-v2.3.0 | Integration Lead | QCL-2026 |
| CI-008 | Instrument adapters | 3.6.1 | Gateway | Config set INST-24-1.0 | IT/QC Instrument Owner | QCL-2026 |
| CI-009 | Site configuration package | 1.0 | Production | QCL-CONFIG-1.0 checksum 51aa...b2e7 | System Owner | QCL-2026 |
| CI-010 | Report template package | 1.0 | Production | QCL-RPT-1.0 | Report Owner | QCL-2026 |
| CI-011 | Calculation package | 1.0 | Production | QCL-CALC-1.0 | QC Calculation Owner | QCL-2026 |
| CI-012 | Role/access package | 1.0 | Production | QCL-RBAC-1.0 | System Owner | QCL-2026 |
| CI-013 | Archive package schema | 1.0 | Production/Archive | RecordPackage v1 | Records Management | QCL-2026 |
| CI-014 | Production baseline manifest | 1.0 | eDMS | QCL-PROD-BL-1.0 | System Owner | QCL-2026 |

# 3. Baseline rule

Any change to a listed item requires approved change control, version update, impact assessment and verification. Emergency security changes may use the emergency procedure but must be retrospectively documented within one business day.

# 4. Related documents

| Relationship | Document ID | Document |
| --- | --- | --- |
| Input | QCL-2026-DS-001 | [System Design Specification](024_System_Design_Specification.md) |
| Input | QCL-2026-CS-001 | [Configuration Specification](025_Configuration_Specification.md) |
| Input | QCL-2026-IAD-001 | [Infrastructure and Architecture Design](026_Infrastructure_and_Architecture_Design.md) |
| Input | QCL-2026-ICS-001 | [Interface Control Specification](027_Interface_Control_Specification.md) |
| Input | QCL-2026-RCS-001 | [Report and Calculation Specification](029_Report_and_Calculation_Specification.md) |
| Input | QCL-2026-MDS-001 | [Master Data Specification](030_Master_Data_Specification.md) |
| Input | QCL-2026-RAC-001 | [Role and Access Control Matrix](031_Role_and_Access_Control_Matrix.md) |
| Input | QCL-2026-BLD-001 | [Installation, Build and Configuration Record](040_Installation_Build_and_Configuration_Record.md) |
| Output | QCL-2026-IQ-001 | [Installation Qualification Protocol and Report](048_Installation_Qualification_Protocol_and_Report.md) |
| Output | QCL-2026-PBL-001 | [Production Baseline and Approved Configuration Record](077_Production_Baseline_and_Approved_Configuration_Record.md) |
| Output | QCL-2027-CHG-021 | [Change Control Record](088_Change_Control_Record.md) |
| Output | QCL-2027-PAT-003 | [Patch and Upgrade Impact Assessment](089_Patch_and_Upgrade_Impact_Assessment.md) |
| Output | QCL-2027-CHG-021-C | [Change Implementation Verification and Closure](091_Change_Implementation_Verification_and_Closure.md) |

# Approval record

| Approval step | Role | Case outcome |
| --- | --- | --- |
| Prepared by | IT System Owner | Completed |
| Reviewed by | Vendor Technical Lead | Completed |
| Approved by | QA CSV Lead | Approved in fictional case |

# Revision history

| Version | Date | Change |
| --- | --- | --- |
| 1.0 | 2026-12-20 | Initial approved fictional case version. |