GMP CSV Controlled Document

Performance Qualification and User Acceptance Test Report

QCLabOne 2.0 QC Laboratory Digital Platform Replacement Project

| Control Field | Value |
| --- | --- |
| Document number | QCL-2026-PQ-001 |
| System | QCLabOne 2.0 LIMS/LES |
| Lifecycle phase | Verification |
| Version | 1.0 |
| Effective/record date | 2027-04-30 |
| Status | Approved in fictional case |

Use notice: This Markdown file is a fully populated fictional CSV training case. It is not an executed GMP record and does not replace company procedures, approved signatures, supplier evidence, or site-specific risk decisions.

# Document control

| Field | Value |
| --- | --- |
| Document number | QCL-2026-PQ-001 |
| Company | NovaSterile Pharma Co., Ltd. |
| Site | Suzhou Sterile Products Manufacturing Site |
| Project | QCLabOne 2.0 QC Laboratory Digital Platform Replacement Project |
| System | QCLabOne 2.0 LIMS/LES |
| Lifecycle phase | Verification |
| Version | 1.0 |
| Effective/record date | 2027-04-30 |
| Case status | Approved in fictional case |

# Governing references

China GMP (2010 Revision), Appendix: Computerised Systems (effective 1 December 2015)

China GMP (2010 Revision), Appendix: Qualification and Validation (effective 1 December 2015)

EU GMP Annex 11: Computerised Systems (2011)

EU GMP Annex 15: Qualification and Validation (2015)

21 CFR Part 11: Electronic Records; Electronic Signatures

FDA Guidance: Part 11, Electronic Records; Electronic Signatures — Scope and Application

PIC/S PI 041-1: Good Practices for Data Management and Integrity in Regulated GMP/GDP Environments (2021)

ISPE GAMP 5, Second Edition (2022), used as non-binding industry guidance

# 1. Objective and users

PQ/UAT demonstrated fitness for intended use through representative end-to-end GMP scenarios. Twenty-four trained users participated: 12 analysts, 5 reviewers, 3 supervisors, 2 QA reviewers, 1 master-data steward and 1 system administrator.

# 2. Executed scenarios

| Test ID | Process | End-to-end scope | Result |
| --- | --- | --- | --- |
| PQ-001 | Raw material workflow | SAP request → receive → direct balance capture → calculation → review/approve → SAP status | Pass |
| PQ-002 | Finished-product assay | LES + CDS approved result/link + calculation + signatures | Pass |
| PQ-003 | Microbiology EM workflow | Location schedule → incubation/count → alert handling → approval | Pass |
| PQ-004 | Stability workflow | Pull schedule, overdue dashboard, test completion and report | Pass after DEF-005 |
| PQ-005 | OOS/OOT workflow | Limit excursion → eQMS case/link → hold → disposition | Pass |
| PQ-006 | Rejected/cancelled sample | Condition exception, reason, re-sample and retained history | Pass |
| PQ-007 | Interface outage contingency | Controlled paper/manual entry, verification and reconciliation | Pass |
| PQ-008 | Audit-trail review | Reviewer filters relevant events, documents review and approves | Pass |
| PQ-009 | Report/SAP completion | Controlled report and acknowledged SAP status/result | Pass |
| PQ-010 | Role-based scenario | Analyst/reviewer/supervisor/QA activities and negative permissions | Pass |
| PQ-011 | Legacy retrieval | Search and retrieve migrated/archive record, attachment and audit trail | Pass |
| PQ-012 | Controlled administration | Approved role/configuration change, evidence and rollback | Pass |

# 3. Business acceptance observations

Users confirmed the workflow was understandable, source records were accessible, exceptions were visible and reports supported review. DEF-005 was a low dashboard sort issue and was corrected/retested without impact on record correctness.

# 4. Conclusion

All 12 PQ/UAT scenarios passed. Business Process Owner accepts the system for the approved intended use, subject to completion of release prerequisites and VSR approval.

# 5. Related documents

| Relationship | Document ID | Document |
| --- | --- | --- |
| Input | QCL-2026-IUS-001 | [QCLabOne 2.0 Intended Use Statement](007_Intended_Use_Statement.md) |
| Input | QCL-2026-BPD-001 | [QCLabOne 2.0 Business Process Description](008_Business_Process_Description.md) |
| Input | QCL-2026-URS-001 | [User Requirements Specification](022_User_Requirements_Specification.md) |
| Input | QCL-2026-VTP-001 | [Validation Test Plan and Strategy](046_Validation_Test_Plan_and_Strategy.md) |
| Input | QCL-2026-MTS-001 | [Master Test Scripts and Test Data Catalogue](047_Master_Test_Scripts_and_Test_Data_Catalogue.md) |
| Input | QCL-2026-OQ-001 | [Operational Qualification Protocol and Report](049_Operational_Qualification_Protocol_and_Report.md) |
| Input | QCL-2026-IFT-001 | [Interface Test Protocol and Report](051_Interface_Test_Protocol_and_Report.md) |
| Input | QCL-2026-DMT-001 | [Data Migration Test and Reconciliation Report](052_Data_Migration_Test_and_Reconciliation_Report.md) |
| Input | QCL-2026-SEC-001 | [Security, Access and Segregation of Duties Test Report](053_Security_Access_and_Segregation_of_Duties_Test.md) |
| Input | QCL-2026-ATC-001 | [Audit Trail Challenge Test Report](054_Audit_Trail_Challenge_Test_Report.md) |
| Input | QCL-2026-EST-001 | [Electronic Signature Test Report](055_Electronic_Signature_Test_Report.md) |
| Input | QCL-2026-RPT-001 | [Report, Print and Export Verification Report](059_Report_Print_and_Export_Verification_Report.md) |
| Input | SOP-QC-LIMS-001 | [QCLabOne 2.0 User Operation SOP](066_User_Operation_SOP.md) |
| Input | QCL-2026-TRN-001 | [Training Plan, Materials and Training Record](071_Training_Plan_Materials_and_Training_Record.md) |
| Output | QCL-2026-TSR-001 | [Test Summary Report](063_Test_Summary_Report.md) |
| Output | QCL-2026-RTM-002 | [Final Requirements Traceability Matrix](064_Final_Requirements_Traceability_Matrix.md) |
| Output | QCL-2026-VSR-001 | [Validation Summary Report](065_Validation_Summary_Report.md) |
| Output | QCL-2026-PRC-001 | [Production Readiness Checklist](074_Production_Readiness_Checklist.md) |
| Output | QCL-2026-GLA-001 | [Go-Live and Production Release Approval](075_Go_Live_and_Production_Release_Approval.md) |

# Approval record

| Approval step | Role | Case outcome |
| --- | --- | --- |
| Prepared by | Test Lead | Completed |
| Reviewed by | Business Process Owner | Completed |
| Approved by | QA Validation Manager | Approved in fictional case |

# Revision history

| Version | Date | Change |
| --- | --- | --- |
| 1.0 | 2027-04-30 | Initial approved fictional case version. |