GMP CSV Controlled Document

CAPA Record and Effectiveness Check

QCLabOne 2.0 QC Laboratory Digital Platform Replacement Project

| Control Field | Value |
| --- | --- |
| Document number | QCL-2026-CAPA-001 |
| System | QCLabOne 2.0 LIMS/LES |
| Lifecycle phase | Test Management |
| Version | 1.0 |
| Effective/record date | 2027-04-30 |
| Status | Approved in fictional case |

Use notice: This Markdown file is a fully populated fictional CSV training case. It is not an executed GMP record and does not replace company procedures, approved signatures, supplier evidence, or site-specific risk decisions.

# Document control

| Field | Value |
| --- | --- |
| Document number | QCL-2026-CAPA-001 |
| Company | NovaSterile Pharma Co., Ltd. |
| Site | Suzhou Sterile Products Manufacturing Site |
| Project | QCLabOne 2.0 QC Laboratory Digital Platform Replacement Project |
| System | QCLabOne 2.0 LIMS/LES |
| Lifecycle phase | Test Management |
| Version | 1.0 |
| Effective/record date | 2027-04-30 |
| Case status | Approved in fictional case |

# Governing references

China GMP (2010 Revision), Appendix: Computerised Systems (effective 1 December 2015)

China GMP (2010 Revision), Appendix: Qualification and Validation (effective 1 December 2015)

EU GMP Annex 11: Computerised Systems (2011)

EU GMP Annex 15: Qualification and Validation (2015)

21 CFR Part 11: Electronic Records; Electronic Signatures

FDA Guidance: Part 11, Electronic Records; Electronic Signatures — Scope and Application

PIC/S PI 041-1: Good Practices for Data Management and Integrity in Regulated GMP/GDP Environments (2021)

ISPE GAMP 5, Second Edition (2022), used as non-binding industry guidance

# 1. CAPA record

CAPA ID: CAPA-QCL-2027-001 Source: DEV-001 / audit-trail reason configuration Problem statement: The site configuration review did not explicitly classify sample comments as critical metadata, allowing a change without mandatory reason.

# 2. Root cause

The design specification listed critical objects at a high level, while the configuration workbook used a supplier default field classification. The design-to-configuration review checklist did not require field-by-field confirmation for audit-reason rules.

# 3. Actions

| Action | Owner | Due | Completion/evidence |
| --- | --- | --- | --- |
| Update audit-trail specification with field-level criticality appendix | QA Data Integrity Owner | 2027-04-05 | ATS revision 1.1 approved |
| Update configuration workbook and promote controlled package | System Owner | 2027-04-06 | QCL-CONFIG-1.0-R1 |
| Repeat ATC-002/003 and affected regression | Test Lead | 2027-04-08 | All pass |
| Add field-level audit configuration review to CSV checklist | CSV Program Lead | 2027-04-30 | SOP attachment revised |
| Train configuration reviewers | QA Training Owner | 2027-05-10 | 12/12 completed |

# 4. Effectiveness check

On 2027-09-15, QA sampled 25 configured critical fields and five production change events. All required reason capture; no missing reason was found. CAPA is effective and closed.

# 5. Related documents

| Relationship | Document ID | Document |
| --- | --- | --- |
| Input | QCL-2026-ATS-001 | [Audit Trail Specification](032_Audit_Trail_Specification.md) |
| Input | QCL-2026-ATC-001 | [Audit Trail Challenge Test Report](054_Audit_Trail_Challenge_Test_Report.md) |
| Input | QCL-2026-DEV-001 | [Validation Deviation Log and Investigation Report](061_Validation_Deviation_Log_and_Investigation_Report.md) |
| Output | QCL-2026-VSR-001 | [Validation Summary Report](065_Validation_Summary_Report.md) |
| Output | SOP-QA-ATR-001 | [QCLabOne 2.0 Audit Trail Review SOP](068_Audit_Trail_Review_SOP.md) |
| Output | QCL-2027-ATR-001 | [Periodic Audit Trail Review Record](081_Periodic_Audit_Trail_Review_Record.md) |
| Output | QCL-2027-DIM-001 | [Data Integrity Monitoring and Trend Report](082_Data_Integrity_Monitoring_and_Trend_Report.md) |

# Approval record

| Approval step | Role | Case outcome |
| --- | --- | --- |
| Prepared by | Test Lead | Completed |
| Reviewed by | System Owner | Completed |
| Approved by | QA Validation Manager | Approved in fictional case |

# Revision history

| Version | Date | Change |
| --- | --- | --- |
| 1.0 | 2027-04-30 | Initial approved fictional case version. |