GMP CSV Controlled Document

Revalidation Assessment and Report

QCLabOne 2.0 QC Laboratory Digital Platform Replacement Project

| Control Field | Value |
| --- | --- |
| Document number | QCL-2028-RVA-001 |
| System | QCLabOne 2.0 LIMS/LES |
| Lifecycle phase | Operation |
| Version | 1.0 |
| Effective/record date | 2028-03-15 |
| Status | Completed/Closed in fictional operating record |

Use notice: This Markdown file is a fully populated fictional CSV training case. It is not an executed GMP record and does not replace company procedures, approved signatures, supplier evidence, or site-specific risk decisions.

# Document control

| Field | Value |
| --- | --- |
| Document number | QCL-2028-RVA-001 |
| Company | NovaSterile Pharma Co., Ltd. |
| Site | Suzhou Sterile Products Manufacturing Site |
| Project | QCLabOne 2.0 QC Laboratory Digital Platform Replacement Project |
| System | QCLabOne 2.0 LIMS/LES |
| Lifecycle phase | Operation |
| Version | 1.0 |
| Effective/record date | 2028-03-15 |
| Case status | Completed/Closed in fictional operating record |

# Governing references

China GMP (2010 Revision), Appendix: Computerised Systems (effective 1 December 2015)

China GMP (2010 Revision), Appendix: Qualification and Validation (effective 1 December 2015)

EU GMP Annex 11: Computerised Systems (2011)

EU GMP Annex 15: Qualification and Validation (2015)

21 CFR Part 11: Electronic Records; Electronic Signatures

FDA Guidance: Part 11, Electronic Records; Electronic Signatures — Scope and Application

PIC/S PI 041-1: Good Practices for Data Management and Integrity in Regulated GMP/GDP Environments (2021)

ISPE GAMP 5, Second Edition (2022), used as non-binding industry guidance

# 1. Trigger

Annual periodic review and cumulative changes through 2028-02-29.

# 2. Assessment

| Question | Answer | Rationale |
| --- | --- | --- |
| Has intended use changed? | No | Same site, modules, processes and record boundaries |
| Has architecture materially changed? | No | Patch and monitoring change only; no data model/platform redesign |
| Have critical configuration/calculations changed? | No | Configuration checksum retained; no formula/limit logic change |
| Were significant incidents or DI failures observed? | No unresolved issue | Certificate and access events closed without data/product impact |
| Did supplier/QMS status deteriorate? | No | Annual supplier review acceptable |
| Are URS/risk/test records current? | Yes | Periodic review confirms traceability and controls |
| Is full revalidation necessary? | No | Focused regression and operational evidence are adequate |

# 3. Revalidation decision

Full revalidation is not required. The system remains validated based on approved baseline, passing focused regression, operational monitoring, access/audit reviews, restore/DR and supplier oversight.

# 4. Future triggers

New module/business process; major platform/data-model change; migration of another site; material calculation/approval redesign; confirmed data-integrity failure; prolonged loss; supplier/hosting change; repeated ineffective control.

# 5. Related documents

| Relationship | Document ID | Document |
| --- | --- | --- |
| Input | QCL-2026-FRA-001 | [Functional Risk Assessment](038_Functional_Risk_Assessment.md) |
| Input | QCL-2026-RTM-002 | [Final Requirements Traceability Matrix](064_Final_Requirements_Traceability_Matrix.md) |
| Input | QCL-2027-CHG-021-C | [Change Implementation Verification and Closure](091_Change_Implementation_Verification_and_Closure.md) |
| Input | QCL-2028-PRR-001 | [Annual Periodic Review Report](092_Annual_Periodic_Review_Report.md) |
| Output | QCL-2028-FDI-001 | [Final Validation and Retirement Dossier Index](108_Final_Validation_and_Retirement_Dossier_Index.md) |

# Approval record

| Approval step | Role | Case outcome |
| --- | --- | --- |
| Prepared by | System Owner | Completed |
| Reviewed by | QC Business Process Owner | Completed |
| Approved by | QA System Oversight | Approved in fictional case |

# Revision history

| Version | Date | Change |
| --- | --- | --- |
| 1.0 | 2028-03-15 | Initial approved fictional case version. |