GMP CSV Controlled Document

Inspection Readiness Dossier and Audit Response Record

QCLabOne 2.0 QC Laboratory Digital Platform Replacement Project

| Control Field | Value |
| --- | --- |
| Document number | QCL-2028-IRD-001 |
| System | QCLabOne 2.0 LIMS/LES |
| Lifecycle phase | Operation |
| Version | 1.0 |
| Effective/record date | 2028-03-15 |
| Status | Completed/Closed in fictional operating record |

Use notice: This Markdown file is a fully populated fictional CSV training case. It is not an executed GMP record and does not replace company procedures, approved signatures, supplier evidence, or site-specific risk decisions.

# Document control

| Field | Value |
| --- | --- |
| Document number | QCL-2028-IRD-001 |
| Company | NovaSterile Pharma Co., Ltd. |
| Site | Suzhou Sterile Products Manufacturing Site |
| Project | QCLabOne 2.0 QC Laboratory Digital Platform Replacement Project |
| System | QCLabOne 2.0 LIMS/LES |
| Lifecycle phase | Operation |
| Version | 1.0 |
| Effective/record date | 2028-03-15 |
| Case status | Completed/Closed in fictional operating record |

# Governing references

China GMP (2010 Revision), Appendix: Computerised Systems (effective 1 December 2015)

China GMP (2010 Revision), Appendix: Qualification and Validation (effective 1 December 2015)

EU GMP Annex 11: Computerised Systems (2011)

EU GMP Annex 15: Qualification and Validation (2015)

21 CFR Part 11: Electronic Records; Electronic Signatures

FDA Guidance: Part 11, Electronic Records; Electronic Signatures — Scope and Application

PIC/S PI 041-1: Good Practices for Data Management and Integrity in Regulated GMP/GDP Environments (2021)

ISPE GAMP 5, Second Edition (2022), used as non-binding industry guidance

# 1. Purpose

This dossier supports inspection readiness and records the 2028-03-06 mock inspection.

# 2. Dossier map

| Topic | Evidence group | Readiness |
| --- | --- | --- |
| Governance | SOP, VMP, inventory, RACI | Available and current |
| Intended use/risk | Scope, intended use, GxP, DIRA, Part 11, FRA | Traceable |
| Supplier | Assessment, audit/CAPA, agreement, annual review | Current |
| Requirements/design | URS, FS/DS/CS, architecture, interfaces, data flow | Approved |
| Verification | FAT/SAT/IQ/OQ/PQ and specialised tests | Indexed |
| Issues | Defect/deviation/CAPA | Closed and traceable |
| Release | RTM, VSR, migration, readiness, baseline, approval | Complete |
| Operation | Access/audit/backup/incident/change/periodic review | Current |
| Archive/retirement | Archive records, retrievability, plan | Ready |

# 3. Mock inspection requests and response

| Request | Response/evidence | Outcome |
| --- | --- | --- |
| Show lifecycle trace for an assay result | Sample → CDS link → calculation → audit → signatures → SAP status traced in 18 minutes | Accepted |
| Show user role approval and latest review | UAR, training, access review and privileged review provided | Accepted |
| Show audit-trail review | Q3 review, record-level example and CAPA effectiveness provided | Accepted |
| Show backup/restore and DR | Monitoring, restore and 2028 exercise evidence provided | Accepted |
| Show supplier control | Qualification, audit/CAPA, agreement and SLA review provided | Accepted |
| Retrieve a 2013 legacy record | Archive package, attachment and audit history retrieved in 11 minutes | Accepted |

# 4. Mock inspection observations

1. Minor: Dossier index used both “System Owner” and “QC System Owner” labels; index standardised. 2. Observation: Include a one-page official-record boundary diagram in the front of the dossier; added. 3. No critical/major data-integrity or validation gap identified.

# 5. Audit-response record

Actions were completed by 2028-03-12. Evidence and response approval are retained with this document.

# 6. Related documents

| Relationship | Document ID | Document |
| --- | --- | --- |
| Input | QCL-2026-ERES-001 | [21 CFR Part 11 and EU Annex 11 Assessment](013_21_CFR_Part_11_and_EU_Annex_11_Assessment.md) |
| Input | QCL-2026-MDL-001 | [Master Deliverable List and Schedule](016_Master_Deliverable_List_and_Schedule.md) |
| Input | QCL-2026-RTM-002 | [Final Requirements Traceability Matrix](064_Final_Requirements_Traceability_Matrix.md) |
| Input | QCL-2026-VSR-001 | [Validation Summary Report](065_Validation_Summary_Report.md) |
| Input | QCL-2027-ATR-001 | [Periodic Audit Trail Review Record](081_Periodic_Audit_Trail_Review_Record.md) |
| Input | QCL-2027-DIM-001 | [Data Integrity Monitoring and Trend Report](082_Data_Integrity_Monitoring_and_Trend_Report.md) |
| Input | QCL-2028-PRR-001 | [Annual Periodic Review Report](092_Annual_Periodic_Review_Report.md) |
| Input | QCL-2028-CVM-001 | [Cybersecurity Vulnerability and Monitoring Report](094_Cybersecurity_Vulnerability_and_Monitoring_Report.md) |
| Input | QCL-2028-DRE-001 | [Business Continuity and Disaster Recovery Exercise Report](095_Business_Continuity_and_DR_Exercise_Report.md) |
| Input | QCL-2028-SPR-001 | [Supplier Periodic Performance and SLA Review](096_Supplier_Periodic_Performance_and_SLA_Review.md) |
| Input | QCL-2028-ARC-001 | [System and Data Archive Record](097_System_and_Data_Archive_Record.md) |
| Output | QCL-2028-AVR-001 | [Legacy Archive Verification and Retrievability Report](103_Legacy_Archive_Verification_and_Retrievability_Report.md) |
| Output | QCL-2028-RSR-001 | [Legacy LIMS Retirement Summary Report](106_Legacy_LIMS_Retirement_Summary_Report.md) |
| Output | QCL-2028-FDI-001 | [Final Validation and Retirement Dossier Index](108_Final_Validation_and_Retirement_Dossier_Index.md) |

# Approval record

| Approval step | Role | Case outcome |
| --- | --- | --- |
| Prepared by | System Owner | Completed |
| Reviewed by | QC Business Process Owner | Completed |
| Approved by | QA System Oversight | Approved in fictional case |

# Revision history

| Version | Date | Change |
| --- | --- | --- |
| 1.0 | 2028-03-15 | Initial approved fictional case version. |