GMP CSV Controlled Document

Final Validation and Retirement Dossier Index

QCLabOne 2.0 QC Laboratory Digital Platform Replacement Project

| Control Field | Value |
| --- | --- |
| Document number | QCL-2028-FDI-001 |
| System | QCLabOne 2.0 LIMS/LES |
| Lifecycle phase | Retirement |
| Version | 1.0 |
| Effective/record date | 2028-03-31 |
| Status | Approved/Closed in fictional retirement record |

Use notice: This Markdown file is a fully populated fictional CSV training case. It is not an executed GMP record and does not replace company procedures, approved signatures, supplier evidence, or site-specific risk decisions.

# Document control

| Field | Value |
| --- | --- |
| Document number | QCL-2028-FDI-001 |
| Company | NovaSterile Pharma Co., Ltd. |
| Site | Suzhou Sterile Products Manufacturing Site |
| Project | QCLabOne 2.0 QC Laboratory Digital Platform Replacement Project |
| System | QCLabOne 2.0 LIMS/LES |
| Lifecycle phase | Retirement |
| Version | 1.0 |
| Effective/record date | 2028-03-31 |
| Case status | Approved/Closed in fictional retirement record |

# Governing references

China GMP (2010 Revision), Appendix: Computerised Systems (effective 1 December 2015)

China GMP (2010 Revision), Appendix: Qualification and Validation (effective 1 December 2015)

EU GMP Annex 11: Computerised Systems (2011)

EU GMP Annex 15: Qualification and Validation (2015)

21 CFR Part 11: Electronic Records; Electronic Signatures

FDA Guidance: Part 11, Electronic Records; Electronic Signatures — Scope and Application

PIC/S PI 041-1: Good Practices for Data Management and Integrity in Regulated GMP/GDP Environments (2021)

ISPE GAMP 5, Second Edition (2022), used as non-binding industry guidance

# 1. Purpose

This is the final index of the complete implementation, operation and Legacy LIMS retirement dossier. It provides one inspection-ready navigation record for all 108 deliverables.

# 2. Dossier index

| No. | Document ID | Title | Phase | Case status | Controlled repository |
| --- | --- | --- | --- | --- | --- |
| 001 | SOP-CSV-001 | Site Computerised System Lifecycle Management Procedure | CSV Governance | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 002 | VMP-SZ-001 | Site Validation Master Plan | CSV Governance | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 003 | CSI-SZ-001 | Site Computerised System Inventory | CSV Governance | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 004 | QCL-2026-RACI-001 | QCLabOne 2.0 CSV RACI and Responsibilities Matrix | CSV Governance | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 005 | QCL-2026-CHA-001 | QCLabOne 2.0 Project Charter | Project Initiation | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 006 | QCL-2026-SCP-001 | QCLabOne 2.0 Project Scope Statement | Project Initiation | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 007 | QCL-2026-IUS-001 | QCLabOne 2.0 Intended Use Statement | Project Initiation | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 008 | QCL-2026-BPD-001 | QCLabOne 2.0 Business Process Description | Project Initiation | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 009 | QCL-2026-GXP-001 | QCLabOne 2.0 GxP Impact Assessment | Risk and Compliance | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 010 | QCL-2026-CLA-001 | System Classification and Criticality Assessment | Risk and Compliance | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 011 | QCL-2026-PRA-001 | Preliminary Risk Assessment | Risk and Compliance | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 012 | QCL-2026-DIRA-001 | Data Integrity Risk Assessment | Risk and Compliance | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 013 | QCL-2026-ERES-001 | 21 CFR Part 11 and EU Annex 11 Assessment | Risk and Compliance | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 014 | QCL-2026-CYB-001 | Cybersecurity and Privacy Impact Assessment | Risk and Compliance | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 015 | QCL-2026-VP-001 | QCLabOne 2.0 Project Validation Plan | Validation Planning | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 016 | QCL-2026-MDL-001 | Master Deliverable List and Schedule | Validation Planning | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 017 | QCL-2026-RFP-001 | RFI, RFP and Product Selection Record | Supplier Management | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 018 | QCL-2026-SQA-001 | Supplier Qualification Assessment | Supplier Management | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 019 | QCL-2026-SAR-001 | Supplier Audit Report and CAPA | Supplier Management | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 020 | QCL-2026-QTA-001 | Quality/Technical Agreement and Service Level Agreement | Supplier Management | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 021 | QCL-2026-SDL-001 | Supplier Documentation Leveraging Assessment | Supplier Management | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 022 | QCL-2026-URS-001 | User Requirements Specification | Requirements | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 023 | QCL-2026-FS-001 | Functional Specification | Design | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 024 | QCL-2026-DS-001 | System Design Specification | Design | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 025 | QCL-2026-CS-001 | Configuration Specification | Design | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 026 | QCL-2026-IAD-001 | Infrastructure and Architecture Design | Design | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 027 | QCL-2026-ICS-001 | Interface Control Specification | Design | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 028 | QCL-2026-DDS-001 | Data Flow, Data Dictionary and Metadata Specification | Design | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 029 | QCL-2026-RCS-001 | Report and Calculation Specification | Design | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 030 | QCL-2026-MDS-001 | Master Data Specification | Design | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 031 | QCL-2026-RAC-001 | Role and Access Control Matrix | Design | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 032 | QCL-2026-ATS-001 | Audit Trail Specification | Design | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 033 | QCL-2026-ESS-001 | Electronic Signature Specification | Design | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 034 | QCL-2026-BRS-001 | Backup and Restore Specification | Design | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 035 | QCL-2026-BCP-001 | Business Continuity and Disaster Recovery Plan | Design | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 036 | QCL-2026-DMP-001 | Data Migration Strategy and Plan | Data Migration | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 037 | QCL-2026-DMS-001 | Data Mapping, Cleansing and Transformation Specification | Data Migration | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 038 | QCL-2026-FRA-001 | Functional Risk Assessment | Risk and Compliance | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 039 | QCL-2026-RTM-001 | Initial Requirements Traceability Matrix | Traceability | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 040 | QCL-2026-BLD-001 | Installation, Build and Configuration Record | Build and Installation | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 041 | QCL-2026-CIR-001 | Configuration Item and Version Register | Build and Installation | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 042 | QCL-2026-SDP-001 | Software Development and Source Control Plan | Development | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 043 | QCL-2026-CRU-001 | Code Review and Unit Test Report | Development | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 044 | QCL-2026-FAT-001 | Factory Acceptance Test Protocol and Report | Verification | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 045 | QCL-2026-SAT-001 | Site Acceptance Test Protocol and Report | Verification | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 046 | QCL-2026-VTP-001 | Validation Test Plan and Strategy | Verification | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 047 | QCL-2026-MTS-001 | Master Test Scripts and Test Data Catalogue | Verification | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 048 | QCL-2026-IQ-001 | Installation Qualification Protocol and Report | Verification | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 049 | QCL-2026-OQ-001 | Operational Qualification Protocol and Report | Verification | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 050 | QCL-2026-PQ-001 | Performance Qualification and User Acceptance Test Report | Verification | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 051 | QCL-2026-IFT-001 | Interface Test Protocol and Report | Verification | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 052 | QCL-2026-DMT-001 | Data Migration Test and Reconciliation Report | Verification | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 053 | QCL-2026-SEC-001 | Security, Access and Segregation of Duties Test Report | Verification | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 054 | QCL-2026-ATC-001 | Audit Trail Challenge Test Report | Verification | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 055 | QCL-2026-EST-001 | Electronic Signature Test Report | Verification | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 056 | QCL-2026-BRT-001 | Backup and Restore Test Report | Verification | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 057 | QCL-2026-PLC-001 | Performance, Load and Capacity Test Report | Verification | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 058 | QCL-2026-DRT-001 | Failover and Disaster Recovery Test Report | Verification | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 059 | QCL-2026-RPT-001 | Report, Print and Export Verification Report | Verification | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 060 | QCL-2026-DEF-001 | Defect Log and Resolution Report | Test Management | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 061 | QCL-2026-DEV-001 | Validation Deviation Log and Investigation Report | Test Management | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 062 | QCL-2026-CAPA-001 | CAPA Record and Effectiveness Check | Test Management | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 063 | QCL-2026-TSR-001 | Test Summary Report | Test Management | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 064 | QCL-2026-RTM-002 | Final Requirements Traceability Matrix | Traceability | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 065 | QCL-2026-VSR-001 | Validation Summary Report | Release | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 066 | SOP-QC-LIMS-001 | QCLabOne 2.0 User Operation SOP | SOP and Training | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 067 | SOP-IT-LIMS-001 | QCLabOne 2.0 System Administration SOP | SOP and Training | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 068 | SOP-QA-ATR-001 | QCLabOne 2.0 Audit Trail Review SOP | SOP and Training | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 069 | SOP-IT-LIMS-002 | QCLabOne 2.0 Operations, Maintenance, Backup, Incident, Change and Security SOP | SOP and Training | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 070 | SOP-QA-ARC-001 | Data Retention, Archiving and Record Retrieval SOP | SOP and Training | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 071 | QCL-2026-TRN-001 | Training Plan, Materials and Training Record | SOP and Training | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 072 | QCL-2026-CUT-001 | Cutover, Rollback and Contingency Plan | Release | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 073 | QCL-2026-PDM-001 | Production Data Migration Execution and Reconciliation Record | Release | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 074 | QCL-2026-PRC-001 | Production Readiness Checklist | Release | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 075 | QCL-2026-GLA-001 | Go-Live and Production Release Approval | Release | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 076 | QCL-2026-HOV-001 | System Handover and Support Model | Release | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 077 | QCL-2026-PBL-001 | Production Baseline and Approved Configuration Record | Release | Approved in fictional case | Site eDMS / QCLabOne CSV dossier |
| 078 | QCL-2027-UAR-001 | User Access Request and Approval Records | Operation | Completed/Closed in fictional operating record | eQMS/eDMS operating records / QCLabOne lifecycle dossier |
| 079 | QCL-2027-UAR-002 | Periodic User Access Review Report | Operation | Completed/Closed in fictional operating record | eQMS/eDMS operating records / QCLabOne lifecycle dossier |
| 080 | QCL-2027-SOD-001 | Segregation of Duties and Privileged Access Review | Operation | Completed/Closed in fictional operating record | eQMS/eDMS operating records / QCLabOne lifecycle dossier |
| 081 | QCL-2027-ATR-001 | Periodic Audit Trail Review Record | Operation | Completed/Closed in fictional operating record | eQMS/eDMS operating records / QCLabOne lifecycle dossier |
| 082 | QCL-2027-DIM-001 | Data Integrity Monitoring and Trend Report | Operation | Completed/Closed in fictional operating record | eQMS/eDMS operating records / QCLabOne lifecycle dossier |
| 083 | QCL-2027-BML-001 | Backup Monitoring Log and Exception Record | Operation | Completed/Closed in fictional operating record | eQMS/eDMS operating records / QCLabOne lifecycle dossier |
| 084 | QCL-2027-RST-001 | Periodic Restore Test Report | Operation | Completed/Closed in fictional operating record | eQMS/eDMS operating records / QCLabOne lifecycle dossier |
| 085 | QCL-2027-INC-014 | Incident Record and Impact Assessment | Operation | Completed/Closed in fictional operating record | eQMS/eDMS operating records / QCLabOne lifecycle dossier |
| 086 | QCL-2027-PRB-006 | Problem Record and Root Cause Analysis | Operation | Completed/Closed in fictional operating record | eQMS/eDMS operating records / QCLabOne lifecycle dossier |
| 087 | QCL-2027-ODV-004 | Operational Deviation and CAPA Record | Operation | Completed/Closed in fictional operating record | eQMS/eDMS operating records / QCLabOne lifecycle dossier |
| 088 | QCL-2027-CHG-021 | Change Control Record | Operation | Completed/Closed in fictional operating record | eQMS/eDMS operating records / QCLabOne lifecycle dossier |
| 089 | QCL-2027-PAT-003 | Patch and Upgrade Impact Assessment | Operation | Completed/Closed in fictional operating record | eQMS/eDMS operating records / QCLabOne lifecycle dossier |
| 090 | QCL-2027-REG-003 | Regression Test Plan and Report | Operation | Completed/Closed in fictional operating record | eQMS/eDMS operating records / QCLabOne lifecycle dossier |
| 091 | QCL-2027-CHG-021-C | Change Implementation Verification and Closure | Operation | Completed/Closed in fictional operating record | eQMS/eDMS operating records / QCLabOne lifecycle dossier |
| 092 | QCL-2028-PRR-001 | Annual Periodic Review Report | Operation | Completed/Closed in fictional operating record | eQMS/eDMS operating records / QCLabOne lifecycle dossier |
| 093 | QCL-2028-RVA-001 | Revalidation Assessment and Report | Operation | Completed/Closed in fictional operating record | eQMS/eDMS operating records / QCLabOne lifecycle dossier |
| 094 | QCL-2028-CVM-001 | Cybersecurity Vulnerability and Monitoring Report | Operation | Completed/Closed in fictional operating record | eQMS/eDMS operating records / QCLabOne lifecycle dossier |
| 095 | QCL-2028-DRE-001 | Business Continuity and Disaster Recovery Exercise Report | Operation | Completed/Closed in fictional operating record | eQMS/eDMS operating records / QCLabOne lifecycle dossier |
| 096 | QCL-2028-SPR-001 | Supplier Periodic Performance and SLA Review | Operation | Completed/Closed in fictional operating record | eQMS/eDMS operating records / QCLabOne lifecycle dossier |
| 097 | QCL-2028-ARC-001 | System and Data Archive Record | Operation | Completed/Closed in fictional operating record | eQMS/eDMS operating records / QCLabOne lifecycle dossier |
| 098 | QCL-2028-IRD-001 | Inspection Readiness Dossier and Audit Response Record | Operation | Completed/Closed in fictional operating record | eQMS/eDMS operating records / QCLabOne lifecycle dossier |
| 099 | QCL-2028-DCR-001 | Legacy LIMS Decommissioning Request | Retirement | Approved/Closed in fictional retirement record | eDMS retirement dossier / ArchiveVault index |
| 100 | QCL-2028-RRA-001 | Legacy LIMS Retirement Risk Assessment | Retirement | Approved/Closed in fictional retirement record | eDMS retirement dossier / ArchiveVault index |
| 101 | QCL-2028-RTP-001 | Legacy LIMS Retirement Plan | Retirement | Approved/Closed in fictional retirement record | eDMS retirement dossier / ArchiveVault index |
| 102 | QCL-2028-LAR-001 | Legacy Data Archiving and Retention Plan | Retirement | Approved/Closed in fictional retirement record | eDMS retirement dossier / ArchiveVault index |
| 103 | QCL-2028-AVR-001 | Legacy Archive Verification and Retrievability Report | Retirement | Approved/Closed in fictional retirement record | eDMS retirement dossier / ArchiveVault index |
| 104 | QCL-2028-AIS-001 | Legacy Access Revocation and Interface Shutdown Record | Retirement | Approved/Closed in fictional retirement record | eDMS retirement dossier / ArchiveVault index |
| 105 | QCL-2028-DCL-001 | Legacy System Decommissioning Checklist | Retirement | Approved/Closed in fictional retirement record | eDMS retirement dossier / ArchiveVault index |
| 106 | QCL-2028-RSR-001 | Legacy LIMS Retirement Summary Report | Retirement | Approved/Closed in fictional retirement record | eDMS retirement dossier / ArchiveVault index |
| 107 | CSI-SZ-001-CHG-2028-03 | Computerised System Inventory Update—Retired Status | Retirement | Approved/Closed in fictional retirement record | eDMS retirement dossier / ArchiveVault index |
| 108 | QCL-2028-FDI-001 | Final Validation and Retirement Dossier Index | Retirement | Approved/Closed in fictional retirement record | eDMS retirement dossier / ArchiveVault index |

# 3. Dossier integrity

The eDMS dossier export manifest is `QCL-FINAL-DOSSIER-1.0`. File names, document numbers, versions and approval metadata are reconciled to the Master Deliverable List. Archive references and final-system inventory entries are included.

# 4. Retention and access

The index is retained permanently. Underlying records are retained according to the approved validation/GMP/operational/retirement schedule. Access is read-only for inspectors/auditors and controlled for dossier administrators.

# 5. Final conclusion

The dossier demonstrates a prospective, risk-based lifecycle from governance and intended use through requirements, supplier/design/build/verification, release, operation, periodic review and controlled retirement. No Critical/High open issue remains in the fictional case.

# 6. Related documents

| Relationship | Document ID | Document |
| --- | --- | --- |
| Governing | SOP-CSV-001 | [Site Computerised System Lifecycle Management Procedure](001_CSV_Lifecycle_Management_Procedure.md) |
| Governing | VMP-SZ-001 | [Site Validation Master Plan](002_Validation_Master_Plan.md) |
| Input | QCL-2026-MDL-001 | [Master Deliverable List and Schedule](016_Master_Deliverable_List_and_Schedule.md) |
| Input | QCL-2026-RTM-002 | [Final Requirements Traceability Matrix](064_Final_Requirements_Traceability_Matrix.md) |
| Input | QCL-2026-VSR-001 | [Validation Summary Report](065_Validation_Summary_Report.md) |
| Input | QCL-2028-PRR-001 | [Annual Periodic Review Report](092_Annual_Periodic_Review_Report.md) |
| Input | QCL-2028-RVA-001 | [Revalidation Assessment and Report](093_Revalidation_Assessment_and_Report.md) |
| Input | QCL-2028-SPR-001 | [Supplier Periodic Performance and SLA Review](096_Supplier_Periodic_Performance_and_SLA_Review.md) |
| Input | QCL-2028-ARC-001 | [System and Data Archive Record](097_System_and_Data_Archive_Record.md) |
| Input | QCL-2028-IRD-001 | [Inspection Readiness Dossier and Audit Response Record](098_Inspection_Readiness_Dossier_and_Audit_Response_Record.md) |
| Input | QCL-2028-RSR-001 | [Legacy LIMS Retirement Summary Report](106_Legacy_LIMS_Retirement_Summary_Report.md) |
| Input | CSI-SZ-001-CHG-2028-03 | [Computerised System Inventory Update—Retired Status](107_Computerised_System_Inventory_Update_Retired_Status.md) |

# Approval record

| Approval step | Role | Case outcome |
| --- | --- | --- |
| Prepared by | Legacy System Owner | Completed |
| Reviewed by | Records Management Owner | Completed |
| Approved by | Site Quality Head | Approved in fictional case |

# Revision history

| Version | Date | Change |
| --- | --- | --- |
| 1.0 | 2028-03-31 | Initial approved fictional case version. |