GMP CSV Controlled Document

QCLabOne 2.0 Project Validation Plan

QCLabOne 2.0 QC Laboratory Digital Platform Replacement Project

| Control Field | Value |
| --- | --- |
| Document number | QCL-2026-VP-001 |
| System | QCLabOne 2.0 LIMS/LES |
| Lifecycle phase | Validation Planning |
| Version | 1.0 |
| Effective/record date | 2026-05-15 |
| Status | Approved in fictional case |

Use notice: This Markdown file is a fully populated fictional CSV training case. It is not an executed GMP record and does not replace company procedures, approved signatures, supplier evidence, or site-specific risk decisions.

# Document control

| Field | Value |
| --- | --- |
| Document number | QCL-2026-VP-001 |
| Company | NovaSterile Pharma Co., Ltd. |
| Site | Suzhou Sterile Products Manufacturing Site |
| Project | QCLabOne 2.0 QC Laboratory Digital Platform Replacement Project |
| System | QCLabOne 2.0 LIMS/LES |
| Lifecycle phase | Validation Planning |
| Version | 1.0 |
| Effective/record date | 2026-05-15 |
| Case status | Approved in fictional case |

# Governing references

China GMP (2010 Revision), Appendix: Computerised Systems (effective 1 December 2015)

China GMP (2010 Revision), Appendix: Qualification and Validation (effective 1 December 2015)

EU GMP Annex 11: Computerised Systems (2011)

EU GMP Annex 15: Qualification and Validation (2015)

21 CFR Part 11: Electronic Records; Electronic Signatures

FDA Guidance: Part 11, Electronic Records; Electronic Signatures — Scope and Application

PIC/S PI 041-1: Good Practices for Data Management and Integrity in Regulated GMP/GDP Environments (2021)

ISPE GAMP 5, Second Edition (2022), used as non-binding industry guidance

# 1. Purpose

This Project Validation Plan defines the prospective, risk-based strategy for implementing and releasing QCLabOne 2.0 LIMS/LES. It is subordinate to the site CSV procedure and VMP.

# 2. Validation scope

The scope is defined in [QCLabOne 2.0 Project Scope Statement](006_Project_Scope_Statement.md) and includes the configurable application, custom interfaces, site configuration, calculations/reports, data migration, production baseline, SOP/training and legacy-retirement dependencies.

# 3. Validation approach

| Area | Approach |
| --- | --- |
| Supplier evidence | Leverage assessed standard product SDLC, platform qualification and baseline functional tests |
| Site configuration | Company-approved specification and risk-based OQ |
| Custom integrations | Development plan, code review, unit test, FAT/SAT and interface verification |
| Business processes | Representative PQ/UAT by trained QC users |
| Data migration | Two trial cycles plus production reconciliation and exception management |
| Electronic records/signatures | Dedicated Part 11/Annex 11, audit trail and e-signature assessment/testing |
| Infrastructure | Supplier qualification plus IQ of site gateway, connectivity, identity, backup and monitoring |
| Operation | Approved SOPs, training, handover, baseline and first-year review evidence |

# 4. Deliverables

Applicable deliverables are listed in the Master Deliverable List. Documents may be combined only through approved change to this plan; traceability and approval requirements shall remain satisfied.

# 5. Risk and traceability

PRA and DIRA establish early controls. FRA links functional hazards to URS and verification. The initial RTM is established after design; the final RTM must show every approved URS covered by passing evidence or an approved rationale.

# 6. Test governance

Test scripts require objective preconditions, steps, expected result and evidence reference.

Testers shall be trained and independent of the specific configuration where practicable.

Critical functions use scripted challenge tests; lower-risk usability observations may use unscripted UAT with recorded results.

Test data shall be synthetic and uniquely identified.

Failed expected results are recorded as defects/deviations; correction and retest evidence remain linked.

Production data shall not be used in non-production environments without approved masking.

# 7. Acceptance and release criteria

| Criterion | Requirement |
| --- | --- |
| Requirements coverage | 100% of Must URS have approved passing coverage |
| Critical/high risk | Control verified; no unacceptable residual risk |
| Defects/deviations | No Critical/High open; Medium items formally assessed |
| Migration | Counts and critical fields accepted; no critical unresolved exception |
| Training/SOP | Effective and complete before production access |
| Backup/DR | Restore and DR evidence meets approved objectives or accepted exception |
| Production baseline | Configuration/version/checksum documented and approved |
| Quality conclusion | Approved VSR and release approval |

# 8. Schedule and gates

Design baseline: 2026-10-31; FAT: 2027-01-25; SAT: 2027-02-20; IQ/OQ/PQ: 2027-03-01 to 2027-04-30; VSR: 2027-06-05; go-live: 2027-06-15.

Gate review shall include deliverable status, traceability coverage, open risks, deviations, defects, supplier actions, training readiness, environment readiness and data-migration status. Conditional gate approval is permitted only when the condition does not allow unvalidated regulated use and has a named owner, due date and QA-approved impact statement.

| Gate decision input | Acceptance expectation |
| --- | --- |
| Deliverable completeness | Required records are approved or have QA-approved deferral rationale |
| Traceability | High-risk URS/risk controls have planned or completed verification coverage |
| Test readiness | Environment, data, scripts and trained executors are approved before execution |
| Release readiness | VSR, SOPs, training, migration, support and baseline are complete |
| Residual risk | No unacceptable residual GxP or data-integrity risk remains |

# 9. Related documents

| Relationship | Document ID | Document |
| --- | --- | --- |
| Governing | SOP-CSV-001 | [Site Computerised System Lifecycle Management Procedure](001_CSV_Lifecycle_Management_Procedure.md) |
| Governing | VMP-SZ-001 | [Site Validation Master Plan](002_Validation_Master_Plan.md) |
| Input | QCL-2026-RACI-001 | [QCLabOne 2.0 CSV RACI and Responsibilities Matrix](004_CSV_RACI_and_Responsibilities_Matrix.md) |
| Input | QCL-2026-CHA-001 | [QCLabOne 2.0 Project Charter](005_Project_Charter.md) |
| Input | QCL-2026-SCP-001 | [QCLabOne 2.0 Project Scope Statement](006_Project_Scope_Statement.md) |
| Input | QCL-2026-IUS-001 | [QCLabOne 2.0 Intended Use Statement](007_Intended_Use_Statement.md) |
| Input | QCL-2026-GXP-001 | [QCLabOne 2.0 GxP Impact Assessment](009_GxP_Impact_Assessment.md) |
| Input | QCL-2026-CLA-001 | [System Classification and Criticality Assessment](010_System_Classification_and_Criticality_Assessment.md) |
| Input | QCL-2026-PRA-001 | [Preliminary Risk Assessment](011_Preliminary_Risk_Assessment.md) |
| Input | QCL-2026-DIRA-001 | [Data Integrity Risk Assessment](012_Data_Integrity_Risk_Assessment.md) |
| Input | QCL-2026-ERES-001 | [21 CFR Part 11 and EU Annex 11 Assessment](013_21_CFR_Part_11_and_EU_Annex_11_Assessment.md) |
| Input | QCL-2026-CYB-001 | [Cybersecurity and Privacy Impact Assessment](014_Cybersecurity_and_Privacy_Impact_Assessment.md) |
| Output | QCL-2026-MDL-001 | [Master Deliverable List and Schedule](016_Master_Deliverable_List_and_Schedule.md) |
| Output | QCL-2026-RFP-001 | [RFI, RFP and Product Selection Record](017_RFI_RFP_and_Product_Selection_Record.md) |
| Output | QCL-2026-SQA-001 | [Supplier Qualification Assessment](018_Supplier_Qualification_Assessment.md) |
| Output | QCL-2026-SAR-001 | [Supplier Audit Report and CAPA](019_Supplier_Audit_Report_and_CAPA.md) |
| Output | QCL-2026-QTA-001 | [Quality/Technical Agreement and Service Level Agreement](020_Quality_Technical_Agreement_and_SLA.md) |
| Output | QCL-2026-SDL-001 | [Supplier Documentation Leveraging Assessment](021_Supplier_Documentation_Leveraging_Assessment.md) |
| Output | QCL-2026-URS-001 | [User Requirements Specification](022_User_Requirements_Specification.md) |
| Output | QCL-2026-FS-001 | [Functional Specification](023_Functional_Specification.md) |
| Output | QCL-2026-DS-001 | [System Design Specification](024_System_Design_Specification.md) |
| Output | QCL-2026-CS-001 | [Configuration Specification](025_Configuration_Specification.md) |
| Output | QCL-2026-IAD-001 | [Infrastructure and Architecture Design](026_Infrastructure_and_Architecture_Design.md) |
| Output | QCL-2026-ICS-001 | [Interface Control Specification](027_Interface_Control_Specification.md) |
| Output | QCL-2026-DDS-001 | [Data Flow, Data Dictionary and Metadata Specification](028_Data_Flow_Data_Dictionary_and_Metadata_Specification.md) |
| Output | QCL-2026-RCS-001 | [Report and Calculation Specification](029_Report_and_Calculation_Specification.md) |
| Output | QCL-2026-MDS-001 | [Master Data Specification](030_Master_Data_Specification.md) |
| Output | QCL-2026-RAC-001 | [Role and Access Control Matrix](031_Role_and_Access_Control_Matrix.md) |
| Output | QCL-2026-ATS-001 | [Audit Trail Specification](032_Audit_Trail_Specification.md) |
| Output | QCL-2026-ESS-001 | [Electronic Signature Specification](033_Electronic_Signature_Specification.md) |
| Output | QCL-2026-BRS-001 | [Backup and Restore Specification](034_Backup_and_Restore_Specification.md) |
| Output | QCL-2026-BCP-001 | [Business Continuity and Disaster Recovery Plan](035_Business_Continuity_and_Disaster_Recovery_Plan.md) |
| Output | QCL-2026-DMP-001 | [Data Migration Strategy and Plan](036_Data_Migration_Strategy_and_Plan.md) |
| Output | QCL-2026-DMS-001 | [Data Mapping, Cleansing and Transformation Specification](037_Data_Mapping_Cleansing_and_Transformation_Specification.md) |
| Output | QCL-2026-FRA-001 | [Functional Risk Assessment](038_Functional_Risk_Assessment.md) |
| Output | QCL-2026-RTM-001 | [Initial Requirements Traceability Matrix](039_Initial_Requirements_Traceability_Matrix.md) |
| Output | QCL-2026-BLD-001 | [Installation, Build and Configuration Record](040_Installation_Build_and_Configuration_Record.md) |
| Output | QCL-2026-CIR-001 | [Configuration Item and Version Register](041_Configuration_Item_and_Version_Register.md) |
| Output | QCL-2026-SDP-001 | [Software Development and Source Control Plan](042_Software_Development_and_Source_Control_Plan.md) |
| Output | QCL-2026-CRU-001 | [Code Review and Unit Test Report](043_Code_Review_and_Unit_Test_Report.md) |
| Output | QCL-2026-FAT-001 | [Factory Acceptance Test Protocol and Report](044_Factory_Acceptance_Test_Protocol_and_Report.md) |
| Output | QCL-2026-SAT-001 | [Site Acceptance Test Protocol and Report](045_Site_Acceptance_Test_Protocol_and_Report.md) |
| Output | QCL-2026-VTP-001 | [Validation Test Plan and Strategy](046_Validation_Test_Plan_and_Strategy.md) |
| Output | QCL-2026-MTS-001 | [Master Test Scripts and Test Data Catalogue](047_Master_Test_Scripts_and_Test_Data_Catalogue.md) |
| Output | QCL-2026-IQ-001 | [Installation Qualification Protocol and Report](048_Installation_Qualification_Protocol_and_Report.md) |
| Output | QCL-2026-OQ-001 | [Operational Qualification Protocol and Report](049_Operational_Qualification_Protocol_and_Report.md) |
| Output | QCL-2026-PQ-001 | [Performance Qualification and User Acceptance Test Report](050_Performance_Qualification_and_UAT_Report.md) |
| Output | QCL-2026-IFT-001 | [Interface Test Protocol and Report](051_Interface_Test_Protocol_and_Report.md) |
| Output | QCL-2026-DMT-001 | [Data Migration Test and Reconciliation Report](052_Data_Migration_Test_and_Reconciliation_Report.md) |
| Output | QCL-2026-SEC-001 | [Security, Access and Segregation of Duties Test Report](053_Security_Access_and_Segregation_of_Duties_Test.md) |
| Output | QCL-2026-ATC-001 | [Audit Trail Challenge Test Report](054_Audit_Trail_Challenge_Test_Report.md) |
| Output | QCL-2026-EST-001 | [Electronic Signature Test Report](055_Electronic_Signature_Test_Report.md) |
| Output | QCL-2026-BRT-001 | [Backup and Restore Test Report](056_Backup_and_Restore_Test_Report.md) |
| Output | QCL-2026-PLC-001 | [Performance, Load and Capacity Test Report](057_Performance_Load_and_Capacity_Test_Report.md) |
| Output | QCL-2026-DRT-001 | [Failover and Disaster Recovery Test Report](058_Failover_and_Disaster_Recovery_Test_Report.md) |
| Output | QCL-2026-RPT-001 | [Report, Print and Export Verification Report](059_Report_Print_and_Export_Verification_Report.md) |
| Output | QCL-2026-DEF-001 | [Defect Log and Resolution Report](060_Defect_Log_and_Resolution_Report.md) |
| Output | QCL-2026-DEV-001 | [Validation Deviation Log and Investigation Report](061_Validation_Deviation_Log_and_Investigation_Report.md) |
| Output | QCL-2026-CAPA-001 | [CAPA Record and Effectiveness Check](062_CAPA_Record_and_Effectiveness_Check.md) |
| Output | QCL-2026-TSR-001 | [Test Summary Report](063_Test_Summary_Report.md) |
| Output | QCL-2026-RTM-002 | [Final Requirements Traceability Matrix](064_Final_Requirements_Traceability_Matrix.md) |
| Output | QCL-2026-VSR-001 | [Validation Summary Report](065_Validation_Summary_Report.md) |

# Approval record

| Approval step | Role | Case outcome |
| --- | --- | --- |
| Prepared by | CSV Project Manager | Completed |
| Reviewed by | QC Business Process Owner | Completed |
| Approved by | QA Validation Manager | Approved in fictional case |

# Revision history

| Version | Date | Change |
| --- | --- | --- |
| 1.0 | 2026-05-15 | Initial approved fictional case version. |