GMP CSV Controlled Document

Supplier Qualification Assessment

QCLabOne 2.0 QC Laboratory Digital Platform Replacement Project

| Control Field | Value |
| --- | --- |
| Document number | QCL-2026-SQA-001 |
| System | QCLabOne 2.0 LIMS/LES |
| Lifecycle phase | Supplier Management |
| Version | 1.0 |
| Effective/record date | 2026-04-30 |
| Status | Approved in fictional case |

Use notice: This Markdown file is a fully populated fictional CSV training case. It is not an executed GMP record and does not replace company procedures, approved signatures, supplier evidence, or site-specific risk decisions.

# Document control

| Field | Value |
| --- | --- |
| Document number | QCL-2026-SQA-001 |
| Company | NovaSterile Pharma Co., Ltd. |
| Site | Suzhou Sterile Products Manufacturing Site |
| Project | QCLabOne 2.0 QC Laboratory Digital Platform Replacement Project |
| System | QCLabOne 2.0 LIMS/LES |
| Lifecycle phase | Supplier Management |
| Version | 1.0 |
| Effective/record date | 2026-04-30 |
| Case status | Approved in fictional case |

# Governing references

China GMP (2010 Revision), Appendix: Computerised Systems (effective 1 December 2015)

China GMP (2010 Revision), Appendix: Qualification and Validation (effective 1 December 2015)

EU GMP Annex 11: Computerised Systems (2011)

EU GMP Annex 15: Qualification and Validation (2015)

21 CFR Part 11: Electronic Records; Electronic Signatures

FDA Guidance: Part 11, Electronic Records; Electronic Signatures — Scope and Application

PIC/S PI 041-1: Good Practices for Data Management and Integrity in Regulated GMP/GDP Environments (2021)

ISPE GAMP 5, Second Edition (2022), used as non-binding industry guidance

# 1. Supplier

Supplier: LabSphere Technologies Ltd. Product/service: LabSphere LIMS/LES 8.4.2 and managed private-cloud service Assessment date: 2026-04-22

# 2. Qualification assessment

| Domain | Evidence reviewed | Conclusion |
| --- | --- | --- |
| Corporate/QMS governance | Documented quality manual, internal audit, CAPA and management review | Satisfactory |
| Software development lifecycle | Requirements, design, code review, automated/manual test, release and configuration management | Satisfactory |
| Validation documentation | Product description, release qualification, traceability and test summaries available | Satisfactory |
| Cloud operations | Dedicated tenant controls, monitoring, backup, DR and capacity management | Satisfactory |
| Information security | ISO 27001 certificate, annual penetration test, vulnerability and incident process | Satisfactory with agreement controls |
| Data ownership/export | Contract confirms customer ownership and complete export at termination | Satisfactory |
| Subcontractor control | Cloud infrastructure subcontractors listed and change-notified | Satisfactory |
| Support/change notification | 24×7 critical support; 90-day planned change notice proposed | Satisfactory |
| Business continuity | Annual DR test; application-layer evidence to be improved | Conditional—audited CAPA |
| Regulatory inspection support | Records and SME availability under quality agreement | Satisfactory |

# 3. Risk rating

The supplier is classified Critical GxP Service Provider because it hosts the application and database and can influence availability, configuration and security. Supplier failure could affect required records and QC operations.

# 4. Qualification decision

Conditionally approved, subject to: 1. closure or accepted plan for supplier audit findings; 2. signed quality/technical agreement; 3. customer approval for production remote access; 4. documented change/security incident notifications; 5. annual supplier performance review.

Supplier qualification remains valid only for the assessed product version, hosting model and service scope. Material supplier changes, major platform upgrade, unresolved critical security issue, ownership change or repeated SLA failure shall trigger requalification or enhanced oversight. Supplier-provided validation evidence is accepted only after relevance and independence are assessed in the leveraging record.

| Ongoing oversight trigger | Required action |
| --- | --- |
| Major release or architecture change | Supplier change impact assessment and regression strategy |
| Critical/high security notification | GxP and data-integrity impact assessment within the agreed SLA |
| Repeated SLA miss | Supplier performance review and corrective action |
| Audit CAPA overdue | QA escalation and decision on validation/release impact |
| Support model change | Update quality/technical agreement and contact matrix |

# 5. Related documents

| Relationship | Document ID | Document |
| --- | --- | --- |
| Input | QCL-2026-RFP-001 | [RFI, RFP and Product Selection Record](017_RFI_RFP_and_Product_Selection_Record.md) |
| Input | QCL-2026-CLA-001 | [System Classification and Criticality Assessment](010_System_Classification_and_Criticality_Assessment.md) |
| Input | QCL-2026-CYB-001 | [Cybersecurity and Privacy Impact Assessment](014_Cybersecurity_and_Privacy_Impact_Assessment.md) |
| Output | QCL-2026-SAR-001 | [Supplier Audit Report and CAPA](019_Supplier_Audit_Report_and_CAPA.md) |
| Output | QCL-2026-QTA-001 | [Quality/Technical Agreement and Service Level Agreement](020_Quality_Technical_Agreement_and_SLA.md) |
| Output | QCL-2026-SDL-001 | [Supplier Documentation Leveraging Assessment](021_Supplier_Documentation_Leveraging_Assessment.md) |
| Output | QCL-2026-FAT-001 | [Factory Acceptance Test Protocol and Report](044_Factory_Acceptance_Test_Protocol_and_Report.md) |

# Approval record

| Approval step | Role | Case outcome |
| --- | --- | --- |
| Prepared by | Supplier Quality Lead | Completed |
| Reviewed by | IT System Owner | Completed |
| Approved by | QA Validation Manager | Approved in fictional case |

# Revision history

| Version | Date | Change |
| --- | --- | --- |
| 1.0 | 2026-04-30 | Initial approved fictional case version. |