GMP CSV Controlled Document

Infrastructure and Architecture Design

QCLabOne 2.0 QC Laboratory Digital Platform Replacement Project

| Control Field | Value |
| --- | --- |
| Document number | QCL-2026-IAD-001 |
| System | QCLabOne 2.0 LIMS/LES |
| Lifecycle phase | Design |
| Version | 1.0 |
| Effective/record date | 2026-10-31 |
| Status | Approved in fictional case |

Use notice: This Markdown file is a fully populated fictional CSV training case. It is not an executed GMP record and does not replace company procedures, approved signatures, supplier evidence, or site-specific risk decisions.

# Document control

| Field | Value |
| --- | --- |
| Document number | QCL-2026-IAD-001 |
| Company | NovaSterile Pharma Co., Ltd. |
| Site | Suzhou Sterile Products Manufacturing Site |
| Project | QCLabOne 2.0 QC Laboratory Digital Platform Replacement Project |
| System | QCLabOne 2.0 LIMS/LES |
| Lifecycle phase | Design |
| Version | 1.0 |
| Effective/record date | 2026-10-31 |
| Case status | Approved in fictional case |

# Governing references

China GMP (2010 Revision), Appendix: Computerised Systems (effective 1 December 2015)

China GMP (2010 Revision), Appendix: Qualification and Validation (effective 1 December 2015)

EU GMP Annex 11: Computerised Systems (2011)

EU GMP Annex 15: Qualification and Validation (2015)

21 CFR Part 11: Electronic Records; Electronic Signatures

FDA Guidance: Part 11, Electronic Records; Electronic Signatures — Scope and Application

PIC/S PI 041-1: Good Practices for Data Management and Integrity in Regulated GMP/GDP Environments (2021)

ISPE GAMP 5, Second Edition (2022), used as non-binding industry guidance

# 1. Purpose

This document defines qualified infrastructure and network dependencies for the application, gateway, identity, backup and archive.

# 2. Physical and service architecture

| Item | Approved design |
| --- | --- |
| Cloud tenant | Dedicated QCLabOne tenant in China East; production and non-production separated |
| Application service | Redundant supplier-managed nodes behind web application firewall/load balancer |
| Database | Managed PostgreSQL 15, encrypted, multi-zone replication and PITR |
| Attachment storage | Encrypted object store with versioning and checksum |
| Gateway | QCL-IGW-01; Windows Server 2022; 8 vCPU; 32 GB RAM; 500 GB encrypted disk |
| Network | Site DMZ-to-cloud TLS route; deny-by-default firewall; no inbound Internet access to gateway |
| Identity | Corporate AD FS 2022/SAML; corporate NTP |
| Monitoring | Availability, CPU/memory/disk, interface queues, certificates, backup, security and time drift |
| DR | Supplier standby region plus site DR copy for gateway configuration |

# 3. Network zones and ports

| Path | Protocol/port | Direction | Purpose |
| --- | --- | --- | --- |
| User network → cloud application | HTTPS 443 | Outbound | User access |
| Gateway → cloud API | mTLS HTTPS 443 | Outbound | Interfaces |
| Gateway ↔ SAP/eQMS/CDS | HTTPS 443 / approved message queue | Bidirectional | Enterprise interfaces |
| Instruments → gateway | Approved serial/TCP ports | Inbound from laboratory VLAN | Device capture |
| Gateway → NTP/DNS/identity/logging | Approved enterprise services | Outbound | Infrastructure control |
| Vendor remote support | Approved bastion over MFA | Time-limited | Diagnostic support only |

# 4. Qualification and hardening

Server build follows approved CIS-aligned baseline. EDR, patching, logging, backup and least-privilege service accounts are mandatory. Unsupported software, local email, web browsing and removable-media use are prohibited.

# 5. Capacity

Initial design supports 200 concurrent users, 10,000 interface messages/hour, 5 TB attachment growth over five years and 30% headroom. Alert thresholds are 70% warning and 85% critical for capacity resources.

Infrastructure qualification shall confirm both build correctness and operational readiness. Evidence shall show that hardening, monitoring, backup agent, time synchronization, log forwarding, vulnerability scanning and support access are active before application validation execution begins. Any shared service leveraged from corporate IT shall have an owner, qualification reference and support escalation path.

| Infrastructure control | Qualification or operating evidence |
| --- | --- |
| Server/platform baseline | Build record, hardening checklist and approved version register |
| Network/security boundary | Firewall rule review, certificate inventory and connection test |
| Monitoring/logging | Alert list, log-retention setting and test alert evidence |
| Backup/restore dependency | Backup job evidence and restore-test linkage |
| Capacity control | Baseline utilisation, alert thresholds and growth review trigger |

# 6. Related documents

| Relationship | Document ID | Document |
| --- | --- | --- |
| Input | QCL-2026-CYB-001 | [Cybersecurity and Privacy Impact Assessment](014_Cybersecurity_and_Privacy_Impact_Assessment.md) |
| Input | QCL-2026-DS-001 | [System Design Specification](024_System_Design_Specification.md) |
| Input | QCL-2026-BRS-001 | [Backup and Restore Specification](034_Backup_and_Restore_Specification.md) |
| Input | QCL-2026-BCP-001 | [Business Continuity and Disaster Recovery Plan](035_Business_Continuity_and_Disaster_Recovery_Plan.md) |
| Output | QCL-2026-BLD-001 | [Installation, Build and Configuration Record](040_Installation_Build_and_Configuration_Record.md) |
| Output | QCL-2026-CIR-001 | [Configuration Item and Version Register](041_Configuration_Item_and_Version_Register.md) |
| Output | QCL-2026-IQ-001 | [Installation Qualification Protocol and Report](048_Installation_Qualification_Protocol_and_Report.md) |
| Output | QCL-2026-BRT-001 | [Backup and Restore Test Report](056_Backup_and_Restore_Test_Report.md) |
| Output | QCL-2026-PLC-001 | [Performance, Load and Capacity Test Report](057_Performance_Load_and_Capacity_Test_Report.md) |
| Output | QCL-2026-DRT-001 | [Failover and Disaster Recovery Test Report](058_Failover_and_Disaster_Recovery_Test_Report.md) |
| Output | QCL-2028-CVM-001 | [Cybersecurity Vulnerability and Monitoring Report](094_Cybersecurity_Vulnerability_and_Monitoring_Report.md) |

# Approval record

| Approval step | Role | Case outcome |
| --- | --- | --- |
| Prepared by | System Owner | Completed |
| Reviewed by | Vendor Solution Architect | Completed |
| Approved by | QA CSV Lead | Approved in fictional case |

# Revision history

| Version | Date | Change |
| --- | --- | --- |
| 1.0 | 2026-10-31 | Initial approved fictional case version. |