GMP CSV Controlled Document

Interface Control Specification

QCLabOne 2.0 QC Laboratory Digital Platform Replacement Project

| Control Field | Value |
| --- | --- |
| Document number | QCL-2026-ICS-001 |
| System | QCLabOne 2.0 LIMS/LES |
| Lifecycle phase | Design |
| Version | 1.0 |
| Effective/record date | 2026-10-31 |
| Status | Approved in fictional case |

Use notice: This Markdown file is a fully populated fictional CSV training case. It is not an executed GMP record and does not replace company procedures, approved signatures, supplier evidence, or site-specific risk decisions.

# Document control

| Field | Value |
| --- | --- |
| Document number | QCL-2026-ICS-001 |
| Company | NovaSterile Pharma Co., Ltd. |
| Site | Suzhou Sterile Products Manufacturing Site |
| Project | QCLabOne 2.0 QC Laboratory Digital Platform Replacement Project |
| System | QCLabOne 2.0 LIMS/LES |
| Lifecycle phase | Design |
| Version | 1.0 |
| Effective/record date | 2026-10-31 |
| Case status | Approved in fictional case |

# Governing references

China GMP (2010 Revision), Appendix: Computerised Systems (effective 1 December 2015)

China GMP (2010 Revision), Appendix: Qualification and Validation (effective 1 December 2015)

EU GMP Annex 11: Computerised Systems (2011)

EU GMP Annex 15: Qualification and Validation (2015)

21 CFR Part 11: Electronic Records; Electronic Signatures

FDA Guidance: Part 11, Electronic Records; Electronic Signatures — Scope and Application

PIC/S PI 041-1: Good Practices for Data Management and Integrity in Regulated GMP/GDP Environments (2021)

ISPE GAMP 5, Second Edition (2022), used as non-binding industry guidance

# 1. Purpose

This specification defines interface ownership, protocol, data content, validation, error handling, reconciliation and security.

# 2. Interface register

| ID | Flow | Protocol | Message | Critical content | Error/reconciliation | Account |
| --- | --- | --- | --- | --- | --- | --- |
| IF-01 | SAP → QCLabOne | HTTPS REST/JSON via gateway | SampleRequest v2 | Material, batch, plant, sample type, quantity, spec reference, request time | Immediate ACK; invalid/duplicate to exception queue | QCL-IGW service |
| IF-02 | QCLabOne → SAP | HTTPS REST/JSON | InspectionStatus v1 | Sample ID, inspection lot, completion status, disposition support, approved time | Retry 3 times; daily reconciliation | QCL-IGW service |
| IF-03 | QCLabOne ↔ QualiTrack eQMS | REST/JSON | QualityCase v1 | Event type OOS/OOT, sample/test/result IDs, summary; return case ID/status | Idempotency key prevents duplicate case | QCL-EQM service |
| IF-04 | ChromLink → QCLabOne | Message queue + HTTPS link | ApprovedResult v3 | Result, unit, sequence ID, method version, approval time, stable URL | Reject unapproved/mismatched context; exception queue | QCL-CDS service |
| IF-05 | Balance/pH/TOC → Gateway | Serial/TCP vendor protocol normalized to JSON | InstrumentResult v2 | Device ID, value, unit, timestamp, status, test context | Range/unit/device checks; no silent substitution | Device adapter accounts |
| IF-06 | Identity → QCLabOne | SAML 2.0 | Identity assertion | User ID, name, group/role claims, session | Deny on invalid/expired assertion | Corporate identity |
| IF-07 | QCLabOne → ArchiveVault | SFTP + manifest | RecordPackage v1 | PDF/A, XML/JSON metadata, attachments, audit trail, checksums | Manifest validation and transfer reconciliation | Archive service |

# 3. Common interface controls

Every message has source system, destination, correlation ID, business key, created time, schema version and checksum.

Duplicate messages are detected by idempotency key and do not create duplicate records.

Mandatory-field, type, unit, range and context checks occur before business processing.

Errors are retained in an exception queue; reprocessing requires authorised role and audit trail.

Daily reconciliation compares sent, received, accepted, rejected and outstanding counts.

No interface account is interactive; secrets are rotated through the approved vault.

# 4. Sample field mapping—CDS result

| CDS field | QCLabOne field | Rule |
| --- | --- | --- |
| approvedResult | TestResult.NumericValue | Decimal; no rounding during transfer |
| unitCode | TestResult.Unit | Must match configured method unit |
| sequenceId | SourceRecord.SequenceID | Required and immutable |
| methodVersion | SourceRecord.MethodVersion | Required; mismatch blocks processing |
| approvalTimestamp | SourceRecord.ApprovedAt | ISO 8601 with offset |
| recordUrl | SourceRecord.Link | HTTPS stable link; authorised users only |
| status | SourceRecord.Status | Only APPROVED accepted |

Interface acceptance requires positive, negative and recovery scenarios. Each interface shall demonstrate normal processing, duplicate prevention, schema rejection, business-rule rejection, retry/reprocess behavior, reconciliation and auditability of manual intervention. Any manual correction to an interface message requires reason, owner and independent review.

| Interface control | Required verification |
| --- | --- |
| Idempotency | Duplicate business key/message ID does not create duplicate regulated record |
| Rejection handling | Invalid schema/unit/context is quarantined with actionable error |
| Reprocessing | Authorised user can reprocess only after documented disposition |
| Reconciliation | Source/target counts and outstanding messages are reviewed |
| Source traceability | Accepted record retains source ID, timestamp and source-system context |

# 5. Related documents

| Relationship | Document ID | Document |
| --- | --- | --- |
| Input | QCL-2026-URS-001 | [User Requirements Specification](022_User_Requirements_Specification.md) |
| Input | QCL-2026-FS-001 | [Functional Specification](023_Functional_Specification.md) |
| Input | QCL-2026-DS-001 | [System Design Specification](024_System_Design_Specification.md) |
| Input | QCL-2026-DDS-001 | [Data Flow, Data Dictionary and Metadata Specification](028_Data_Flow_Data_Dictionary_and_Metadata_Specification.md) |
| Output | QCL-2026-FRA-001 | [Functional Risk Assessment](038_Functional_Risk_Assessment.md) |
| Output | QCL-2026-SDP-001 | [Software Development and Source Control Plan](042_Software_Development_and_Source_Control_Plan.md) |
| Output | QCL-2026-CRU-001 | [Code Review and Unit Test Report](043_Code_Review_and_Unit_Test_Report.md) |
| Output | QCL-2026-FAT-001 | [Factory Acceptance Test Protocol and Report](044_Factory_Acceptance_Test_Protocol_and_Report.md) |
| Output | QCL-2026-SAT-001 | [Site Acceptance Test Protocol and Report](045_Site_Acceptance_Test_Protocol_and_Report.md) |
| Output | QCL-2026-IFT-001 | [Interface Test Protocol and Report](051_Interface_Test_Protocol_and_Report.md) |
| Output | QCL-2027-INC-014 | [Incident Record and Impact Assessment](085_Incident_Record_and_Impact_Assessment.md) |
| Output | QCL-2027-PRB-006 | [Problem Record and Root Cause Analysis](086_Problem_Record_and_Root_Cause_Analysis.md) |

# Approval record

| Approval step | Role | Case outcome |
| --- | --- | --- |
| Prepared by | System Owner | Completed |
| Reviewed by | Vendor Solution Architect | Completed |
| Approved by | QA CSV Lead | Approved in fictional case |

# Revision history

| Version | Date | Change |
| --- | --- | --- |
| 1.0 | 2026-10-31 | Initial approved fictional case version. |