GMP CSV Controlled Document

Role and Access Control Matrix

QCLabOne 2.0 QC Laboratory Digital Platform Replacement Project

| Control Field | Value |
| --- | --- |
| Document number | QCL-2026-RAC-001 |
| System | QCLabOne 2.0 LIMS/LES |
| Lifecycle phase | Design |
| Version | 1.0 |
| Effective/record date | 2026-10-31 |
| Status | Approved in fictional case |

Use notice: This Markdown file is a fully populated fictional CSV training case. It is not an executed GMP record and does not replace company procedures, approved signatures, supplier evidence, or site-specific risk decisions.

# Document control

| Field | Value |
| --- | --- |
| Document number | QCL-2026-RAC-001 |
| Company | NovaSterile Pharma Co., Ltd. |
| Site | Suzhou Sterile Products Manufacturing Site |
| Project | QCLabOne 2.0 QC Laboratory Digital Platform Replacement Project |
| System | QCLabOne 2.0 LIMS/LES |
| Lifecycle phase | Design |
| Version | 1.0 |
| Effective/record date | 2026-10-31 |
| Case status | Approved in fictional case |

# Governing references

China GMP (2010 Revision), Appendix: Computerised Systems (effective 1 December 2015)

China GMP (2010 Revision), Appendix: Qualification and Validation (effective 1 December 2015)

EU GMP Annex 11: Computerised Systems (2011)

EU GMP Annex 15: Qualification and Validation (2015)

21 CFR Part 11: Electronic Records; Electronic Signatures

FDA Guidance: Part 11, Electronic Records; Electronic Signatures — Scope and Application

PIC/S PI 041-1: Good Practices for Data Management and Integrity in Regulated GMP/GDP Environments (2021)

ISPE GAMP 5, Second Edition (2022), used as non-binding industry guidance

# 1. Access-control principles

Access follows unique identity, least privilege, need-to-know, segregation of duties, approved joiner/mover/leaver workflow and periodic recertification.

# 2. Role matrix

| Role | Allowed activities | Prohibited/conflicting activities |
| --- | --- | --- |
| Analyst | Create/receive assigned sample; execute LES; enter/capture data; submit | No spec/config/role administration; no final approval |
| Reviewer | Read source records/audit trail; verify calculation; review/reject | Cannot modify submitted data or administer system |
| QC Supervisor | Assign work; resolve authorised exceptions; approve defined results | Cannot administer security or audit trail |
| QA Reviewer | Review critical audit trails, OOS/OOT links and quality exceptions; approve defined QA decisions | No routine data entry or technical administration |
| Master Data Steward | Create/revise controlled master data | Cannot make own item effective or approve final results |
| System Administrator | Configure approved settings, roles and interfaces; run monitoring | Cannot create/modify QC result content or approve results |
| IT Support | Infrastructure, logs, backup/restore and incident support | No application-content editing; no QC approval |
| Vendor Support | Time-limited diagnostic/support access | No standing production access; no unapproved change |
| Auditor/Inspector Read-Only | Read/search/export approved records and audit trails | No create/change/approve |
| Service Account | Execute one defined interface or scheduled job | No interactive login; least privilege |

# 3. Permission matrix

| Function | Analyst | Reviewer | Supervisor | QA | Master Data | Sys Admin | IT | Vendor |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Execute assigned test | R/W | Read | Read | Read | Read | Read metadata | No | No |
| Submit result | Yes | No | No | No | No | No | No | No |
| Review result/audit trail | Own read | Yes | Yes | Yes | Read | No approval | No | No |
| Final approve defined result | No | No | Yes | Where required | No | No | No | No |
| Create/revise specification | No | No | Read | Read | Yes | Technical support only | No | No |
| Make specification effective | No | No | No | Approval/oversight | No self-approval | Promote approved package | No | No |
| Manage roles | No | No | Request | Review | No | Execute approved request | Technical support | No standing access |
| View audit trail | Own/assigned | Yes | Yes | Yes | Relevant | Technical | Security logs | Ticketed |
| Change configuration | No | No | No | Approve oversight | No | Approved only | Infrastructure only | Ticketed approved |
| Delete GxP record/audit trail | No | No | No | No | No | No | No | No |

# 4. Account controls

Shared accounts are prohibited. Service accounts are non-interactive and owned. Two break-glass accounts are sealed, monitored and quarterly tested. Vendor accounts are disabled except during approved support windows.

# 5. Review frequency

All active accounts and roles quarterly; privileged accounts monthly; service accounts semi-annually; immediate disablement upon termination and within one business day for role transfer unless risk requires faster action.

Joiner/mover/leaver controls shall demonstrate that access is approved before use, changed when job responsibility changes, and removed promptly when no longer needed. Review evidence shall include user, role, business justification, approver, reviewer decision, remediation action and closure date. Any unresolved segregation-of-duties conflict requires documented compensating control and QA acknowledgement.

| Access-control event | Required evidence |
| --- | --- |
| New user | Approved request, training completion and role assignment |
| Role change | Business justification, prior role removal and new-role approval |
| Privileged access | Time-bound approval, activity log and post-use review |
| Vendor access | Support window, session purpose, monitoring and disablement evidence |
| Periodic review | Reviewer decision, removals/changes and overdue-action closure |

# 6. Related documents

| Relationship | Document ID | Document |
| --- | --- | --- |
| Input | QCL-2026-ERES-001 | [21 CFR Part 11 and EU Annex 11 Assessment](013_21_CFR_Part_11_and_EU_Annex_11_Assessment.md) |
| Input | QCL-2026-CYB-001 | [Cybersecurity and Privacy Impact Assessment](014_Cybersecurity_and_Privacy_Impact_Assessment.md) |
| Input | QCL-2026-URS-001 | [User Requirements Specification](022_User_Requirements_Specification.md) |
| Input | QCL-2026-CS-001 | [Configuration Specification](025_Configuration_Specification.md) |
| Input | QCL-2026-MDS-001 | [Master Data Specification](030_Master_Data_Specification.md) |
| Output | QCL-2026-FRA-001 | [Functional Risk Assessment](038_Functional_Risk_Assessment.md) |
| Output | QCL-2026-SEC-001 | [Security, Access and Segregation of Duties Test Report](053_Security_Access_and_Segregation_of_Duties_Test.md) |
| Output | SOP-IT-LIMS-001 | [QCLabOne 2.0 System Administration SOP](067_System_Administration_SOP.md) |
| Output | QCL-2027-UAR-001 | [User Access Request and Approval Records](078_User_Access_Request_and_Approval_Records.md) |
| Output | QCL-2027-UAR-002 | [Periodic User Access Review Report](079_Periodic_User_Access_Review_Report.md) |
| Output | QCL-2027-SOD-001 | [Segregation of Duties and Privileged Access Review](080_Segregation_of_Duties_and_Privileged_Access_Review.md) |

# Approval record

| Approval step | Role | Case outcome |
| --- | --- | --- |
| Prepared by | System Owner | Completed |
| Reviewed by | Vendor Solution Architect | Completed |
| Approved by | QA CSV Lead | Approved in fictional case |

# Revision history

| Version | Date | Change |
| --- | --- | --- |
| 1.0 | 2026-10-31 | Initial approved fictional case version. |