GMP CSV Controlled Document

Initial Requirements Traceability Matrix

QCLabOne 2.0 QC Laboratory Digital Platform Replacement Project

| Control Field | Value |
| --- | --- |
| Document number | QCL-2026-RTM-001 |
| System | QCLabOne 2.0 LIMS/LES |
| Lifecycle phase | Traceability |
| Version | 1.0 |
| Effective/record date | 2026-10-31 |
| Status | Approved in fictional case |

Use notice: This Markdown file is a fully populated fictional CSV training case. It is not an executed GMP record and does not replace company procedures, approved signatures, supplier evidence, or site-specific risk decisions.

# Document control

| Field | Value |
| --- | --- |
| Document number | QCL-2026-RTM-001 |
| Company | NovaSterile Pharma Co., Ltd. |
| Site | Suzhou Sterile Products Manufacturing Site |
| Project | QCLabOne 2.0 QC Laboratory Digital Platform Replacement Project |
| System | QCLabOne 2.0 LIMS/LES |
| Lifecycle phase | Traceability |
| Version | 1.0 |
| Effective/record date | 2026-10-31 |
| Case status | Approved in fictional case |

# Governing references

China GMP (2010 Revision), Appendix: Computerised Systems (effective 1 December 2015)

China GMP (2010 Revision), Appendix: Qualification and Validation (effective 1 December 2015)

EU GMP Annex 11: Computerised Systems (2011)

EU GMP Annex 15: Qualification and Validation (2015)

21 CFR Part 11: Electronic Records; Electronic Signatures

FDA Guidance: Part 11, Electronic Records; Electronic Signatures — Scope and Application

PIC/S PI 041-1: Good Practices for Data Management and Integrity in Regulated GMP/GDP Environments (2021)

ISPE GAMP 5, Second Edition (2022), used as non-binding industry guidance

# 1. Purpose

This initial matrix confirms that every approved URS has a risk/design/test path before formal verification begins.

# 2. Initial traceability matrix

| URS | FRA reference | Functional/design reference | Planned verification | Status |
| --- | --- | --- | --- | --- |
| URS-GEN-001 | FRA-033 | FS-GEN-003 | PQ-001, PQ-003, PQ-004 | Planned |
| URS-GEN-002 | FRA-003 | FS-GEN-002 | OQ-GEN-002 | Planned |
| URS-GEN-003 | FRA-033 | FS-GEN-001 | OQ-GEN-001 | Planned |
| URS-GEN-004 | FRA-024 | FS-GEN-002 | IQ-005, OQ-DI-001 | Planned |
| URS-GEN-005 | FRA-034 | FS-GEN-001, FS-SPEC-003 | IQ-013, OQ-GEN-002 | Planned |
| URS-SMP-001 | FRA-001, FRA-002 | FS-SMP-001 | OQ-SMP-001, IFT-SAP-001 | Planned |
| URS-SMP-002 | FRA-003 | FS-SMP-002 | OQ-SMP-001 | Planned |
| URS-SMP-003 | FRA-004 | FS-SMP-003 | OQ-SMP-002 | Planned |
| URS-SMP-004 | FRA-004 | FS-SMP-003 | OQ-SMP-002, PQ-006 | Planned |
| URS-SMP-005 | FRA-005 | FS-SMP-004 | OQ-SMP-003 | Planned |
| URS-SMP-006 | FRA-006 | FS-SMP-004 | OQ-SMP-003 | Planned |
| URS-SMP-007 | FRA-004 | FS-SMP-003 | OQ-SMP-002 | Planned |
| URS-SMP-008 | FRA-007 | FS-SMP-005 | OQ-SMP-004, PQ-004 | Planned |
| URS-SPEC-001 | FRA-005 | FS-SPEC-001 | OQ-SPEC-001 | Planned |
| URS-SPEC-002 | FRA-008 | FS-SPEC-001 | OQ-SPEC-001, SEC-001 | Planned |
| URS-SPEC-003 | FRA-009 | FS-SPEC-001 | OQ-SPEC-002 | Planned |
| URS-SPEC-004 | FRA-016 | FS-SPEC-002 | OQ-SPEC-003 | Planned |
| URS-SPEC-005 | FRA-008 | FS-SPEC-003 | OQ-SPEC-001, EST-001 | Planned |
| URS-LES-001 | FRA-010 | FS-LES-001 | OQ-LES-001 | Planned |
| URS-LES-002 | FRA-010 | FS-LES-001 | OQ-LES-001 | Planned |
| URS-LES-003 | FRA-011 | FS-LES-002 | OQ-LES-002 | Planned |
| URS-LES-004 | FRA-012 | FS-LES-003 | OQ-LES-003 | Planned |
| URS-LES-005 | FRA-013 | FS-LES-004 | OQ-LES-004 | Planned |
| URS-LES-006 | FRA-014 | FS-LES-005 | OQ-LES-005 | Planned |
| URS-LES-007 | FRA-015 | FS-LES-006 | OQ-LES-006, SEC-002 | Planned |
| URS-LES-008 | FRA-010 | FS-LES-005 | OQ-LES-005, PQ-010 | Planned |
| URS-CALC-001 | FRA-016 | FS-CALC-001 | OQ-CALC-001 | Planned |
| URS-CALC-002 | FRA-016 | FS-CALC-002 | OQ-CALC-002 | Planned |
| URS-CALC-003 | FRA-017 | FS-CALC-003 | OQ-CALC-003 | Planned |
| URS-CALC-004 | FRA-016 | FS-CALC-003 | OQ-CALC-002 | Planned |
| URS-CALC-005 | FRA-017 | FS-CALC-004 | OQ-CALC-003, REG-007 | Planned |
| URS-INT-001 | FRA-001, FRA-020 | FS-SMP-001, FS-INT-001 | IFT-SAP-001, IFT-SAP-003, PQ-009 | Planned |
| URS-INT-002 | FRA-018 | FS-INT-002 | IFT-EQM-001, IFT-EQM-002, PQ-005 | Planned |
| URS-INT-003 | FRA-019 | FS-INT-003 | IFT-CDS-001, IFT-CDS-002, PQ-002 | Planned |
| URS-INT-004 | FRA-020 | FS-INT-004 | IFT-INS-002 | Planned |
| URS-INT-005 | FRA-020 | FS-INT-004 | IFT-SAP-003, IFT-INS-002 | Planned |
| URS-INT-006 | FRA-020 | FS-INT-005 | IFT-ALL-001, PQ-007 | Planned |
| URS-SEC-001 | FRA-021 | FS-SEC-001 | OQ-SEC-001 | Planned |
| URS-SEC-002 | FRA-022 | FS-SEC-002 | SEC-001 | Planned |
| URS-SEC-003 | FRA-022 | FS-SEC-002 | SEC-002 | Planned |
| URS-SEC-004 | FRA-021 | FS-SEC-003 | OQ-SEC-003 | Planned |
| URS-SEC-005 | FRA-021 | FS-SEC-003 | SEC-003 | Planned |
| URS-SEC-006 | FRA-023 | FS-SEC-004 | OQ-SEC-004 | Planned |
| URS-SEC-007 | FRA-022 | FS-SEC-005 | SEC-004 | Planned |
| URS-DI-001 | FRA-024 | FS-DI-001 | ATC-001, ATC-002, ATC-005 | Planned |
| URS-DI-002 | FRA-024 | FS-DI-002 | ATC-003 | Planned |
| URS-DI-003 | FRA-025 | FS-DI-001 | ATC-004 | Planned |
| URS-DI-004 | FRA-025 | FS-DI-003 | ATC-004, PQ-008 | Planned |
| URS-DI-005 | FRA-031 | FS-DI-004 | DMT-005, PQ-011 | Planned |
| URS-DI-006 | FRA-031 | FS-DI-004 | OQ-DI-002 | Planned |
| URS-DI-007 | FRA-030 | FS-DI-005 | DMT-001, DMT-002, DMT-003, DMT-004 | Planned |
| URS-DI-008 | FRA-024 | FS-DI-006 | IQ-005, OQ-DI-001 | Planned |
| URS-ESIG-001 | FRA-026 | FS-ESIG-001 | EST-001, EST-003 | Planned |
| URS-ESIG-002 | FRA-026 | FS-ESIG-002 | EST-002 | Planned |
| URS-ESIG-003 | FRA-026 | FS-ESIG-001 | EST-001, EST-004 | Planned |
| URS-ESIG-004 | FRA-026 | FS-ESIG-002 | EST-003 | Planned |
| URS-REP-001 | FRA-027 | FS-REP-001 | RPT-001, PQ-009 | Planned |
| URS-REP-002 | FRA-027 | FS-REP-001 | RPT-001, RPT-002 | Planned |
| URS-REP-003 | FRA-027 | FS-REP-002 | RPT-003 | Planned |
| URS-REP-004 | FRA-027 | FS-REP-002 | RPT-004 | Planned |
| URS-BCP-001 | FRA-028 | FS-BCP-001 | BRT-001 | Planned |
| URS-BCP-002 | FRA-029 | FS-BCP-002 | DRT-002, DRT-003 | Planned |
| URS-BCP-003 | FRA-028 | FS-BCP-001 | BRT-002, BRT-003, BRT-004 | Planned |
| URS-BCP-004 | FRA-029 | FS-BCP-002 | DRT-004, PQ-007 | Planned |
| URS-MIG-001 | FRA-030 | FS-MIG-001 | DMT-001, DMT-002, DMT-004 | Planned |
| URS-MIG-002 | FRA-031 | FS-MIG-001 | DMT-005, PQ-011 | Planned |
| URS-MIG-003 | FRA-030 | FS-MIG-002 | DMT-006 | Planned |
| URS-MIG-004 | FRA-032 | FS-MIG-002 | DMT-001 | Planned |
| URS-OPS-001 | FRA-033 | FS-OPS-001 | OQ-OPS-001, PQ-012 | Planned |
| URS-OPS-002 | FRA-034 | FS-OPS-002 | PQ-012, SPR-Review | Planned |
| URS-OPS-003 | FRA-033 | FS-OPS-001 | PQ-012, PRR-001 | Planned |
| URS-OPS-004 | FRA-035 | FS-OPS-002 | PQ-011, RET-Verification | Planned |

# 3. Traceability rules

Changes to URS, risk, specification or test scope require matrix update. The final matrix records actual result and deviation references and is approved before the VSR.

Traceability is considered complete only when a reviewer can navigate from intended use to requirement, risk/control, design/configuration and verification evidence. Where a requirement is satisfied by supplier evidence or SOP/training rather than a company-executed test, the rationale and evidence reference shall be explicit.

| Traceability gap | Required disposition |
| --- | --- |
| Must URS without verification | Add test/evidence or justify non-test evidence before release |
| High risk without control evidence | Block release until verified or formally accepted as residual risk |
| Failed test with retest | Link defect/deviation, correction and passing retest evidence |
| Requirement changed after scripts approved | Impact scripts, test data, design and executed evidence |
| Supplier evidence used | Link leveraging decision and confirm site-specific coverage remains |

# 4. Related documents

| Relationship | Document ID | Document |
| --- | --- | --- |
| Input | QCL-2026-URS-001 | [User Requirements Specification](022_User_Requirements_Specification.md) |
| Input | QCL-2026-FS-001 | [Functional Specification](023_Functional_Specification.md) |
| Input | QCL-2026-FRA-001 | [Functional Risk Assessment](038_Functional_Risk_Assessment.md) |
| Output | QCL-2026-MTS-001 | [Master Test Scripts and Test Data Catalogue](047_Master_Test_Scripts_and_Test_Data_Catalogue.md) |
| Output | QCL-2026-RTM-002 | [Final Requirements Traceability Matrix](064_Final_Requirements_Traceability_Matrix.md) |
| Output | QCL-2026-VSR-001 | [Validation Summary Report](065_Validation_Summary_Report.md) |

# Approval record

| Approval step | Role | Case outcome |
| --- | --- | --- |
| Prepared by | CSV Lead | Completed |
| Reviewed by | System Owner | Completed |
| Approved by | QA Validation Manager | Approved in fictional case |

# Revision history

| Version | Date | Change |
| --- | --- | --- |
| 1.0 | 2026-10-31 | Initial approved fictional case version. |