GMP CSV Controlled Document

Operational Qualification Protocol and Report

QCLabOne 2.0 QC Laboratory Digital Platform Replacement Project

| Control Field | Value |
| --- | --- |
| Document number | QCL-2026-OQ-001 |
| System | QCLabOne 2.0 LIMS/LES |
| Lifecycle phase | Verification |
| Version | 1.0 |
| Effective/record date | 2027-04-30 |
| Status | Approved in fictional case |

Use notice: This Markdown file is a fully populated fictional CSV training case. It is not an executed GMP record and does not replace company procedures, approved signatures, supplier evidence, or site-specific risk decisions.

# Document control

| Field | Value |
| --- | --- |
| Document number | QCL-2026-OQ-001 |
| Company | NovaSterile Pharma Co., Ltd. |
| Site | Suzhou Sterile Products Manufacturing Site |
| Project | QCLabOne 2.0 QC Laboratory Digital Platform Replacement Project |
| System | QCLabOne 2.0 LIMS/LES |
| Lifecycle phase | Verification |
| Version | 1.0 |
| Effective/record date | 2027-04-30 |
| Case status | Approved in fictional case |

# Governing references

China GMP (2010 Revision), Appendix: Computerised Systems (effective 1 December 2015)

China GMP (2010 Revision), Appendix: Qualification and Validation (effective 1 December 2015)

EU GMP Annex 11: Computerised Systems (2011)

EU GMP Annex 15: Qualification and Validation (2015)

21 CFR Part 11: Electronic Records; Electronic Signatures

FDA Guidance: Part 11, Electronic Records; Electronic Signatures — Scope and Application

PIC/S PI 041-1: Good Practices for Data Management and Integrity in Regulated GMP/GDP Environments (2021)

ISPE GAMP 5, Second Edition (2022), used as non-binding industry guidance

# 1. Objective

OQ challenged configured functional behaviour, including negative and boundary conditions, against approved URS, specifications and FRA controls.

# 2. Executed OQ cases

| Test ID | Test | Type | Result |
| --- | --- | --- | --- |
| OQ-SMP-001 | Create SAP-origin sample request; generate sample ID and barcode | OQ | Pass |
| OQ-SMP-002 | Record receipt, reject, transfer, aliquot and disposal with custody history | OQ | Pass |
| OQ-SMP-003 | Assign tests from effective specification and block closure with open work | OQ | Pass |
| OQ-SMP-004 | Calculate stability pull date and overdue alert | OQ | Pass |
| OQ-SPEC-001 | Create, approve, effective-date and obsolete a specification | OQ | Pass |
| OQ-SPEC-002 | Confirm historical record retains original specification/method version | OQ | Pass |
| OQ-SPEC-003 | Verify numeric, qualitative, text and enumerated result types | OQ | Pass |
| OQ-LES-001 | Execute approved LES steps and enforce prerequisites/mandatory fields | OQ | Pass |
| OQ-LES-002 | Capture reagent, standard, instrument and lot references | OQ | Pass |
| OQ-LES-003 | Direct capture from balance, pH meter and TOC analyzer | OQ | Pass |
| OQ-LES-004 | Manual entry reason and independent verification | OQ | Pass |
| OQ-LES-005 | Pause, abort, repeat-test and exception dashboard | OQ | Pass |
| OQ-LES-006 | Prevent analyst self-approval | OQ | Pass |
| OQ-CALC-001 | Verify assay and dilution formula calculations | OQ | Pass |
| OQ-CALC-002 | Verify significant figures, rounding and boundary limits | OQ | Pass |
| OQ-CALC-003 | Verify formula history and controlled change | OQ | Pass |
| OQ-SEC-001 | Verify SSO, unique account and disabled local login | OQ | Pass |
| OQ-SEC-002 | Verify positive/negative permissions for each business role | OQ | Pass |
| OQ-SEC-003 | Verify session lock and account disablement | OQ | Pass |
| OQ-SEC-004 | Verify vendor remote access approval, timeout and logging | OQ | Pass |
| OQ-DI-001 | Verify system time synchronization and timezone control | OQ | Pass |
| OQ-DI-002 | Verify record retention and routine deletion restrictions | OQ | Pass |
| OQ-OPS-001 | Generate access, audit trail, backup and operational reports | OQ | Pass |
| OQ-GEN-001 | Verify application/environment/version display | OQ | Pass |
| OQ-GEN-002 | Verify unique identifier non-reuse and production baseline control | OQ | Pass |

# 3. Representative actual results

Duplicate sample ID and self-approval attempts were rejected.

Historical specifications remained unchanged after a new version became effective.

Formula outputs matched independent references, including rounding and limit boundaries.

Manual critical result required reason and independent verification.

Local interactive login was disabled; session lock occurred at 15 minutes.

Routine users could not delete GxP records.

Required operational reports were generated.

# 4. Exceptions

Audit trail-specific configuration failure was managed under DEV-001 and retested in Document 054. No other unresolved OQ issue remained.

# 5. Conclusion

All planned OQ cases passed after controlled correction/retest. Configured functions are suitable to proceed to PQ/UAT.

OQ acceptance confirms that configured controls operate as specified under normal, boundary and negative conditions. It does not replace business-process acceptance in PQ. Any OQ test that relied on supplier evidence shall retain the leveraging rationale and demonstrate that the final site configuration was challenged where it affects intended use.

| OQ coverage area | Evidence expectation |
| --- | --- |
| Configured workflow | Approved states, prerequisites and blocked actions are challenged |
| Calculation/report logic | Boundary, invalid input and expected output are verified |
| Security/audit/e-signature | Positive and negative controls are tested |
| Interface behavior | Error handling and reconciliation are included or linked |
| Retest | Failed result, fix, impact and passing retest remain traceable |

# 6. Related documents

| Relationship | Document ID | Document |
| --- | --- | --- |
| Input | QCL-2026-URS-001 | [User Requirements Specification](022_User_Requirements_Specification.md) |
| Input | QCL-2026-FS-001 | [Functional Specification](023_Functional_Specification.md) |
| Input | QCL-2026-CS-001 | [Configuration Specification](025_Configuration_Specification.md) |
| Input | QCL-2026-RCS-001 | [Report and Calculation Specification](029_Report_and_Calculation_Specification.md) |
| Input | QCL-2026-MDS-001 | [Master Data Specification](030_Master_Data_Specification.md) |
| Input | QCL-2026-RAC-001 | [Role and Access Control Matrix](031_Role_and_Access_Control_Matrix.md) |
| Input | QCL-2026-FRA-001 | [Functional Risk Assessment](038_Functional_Risk_Assessment.md) |
| Input | QCL-2026-VTP-001 | [Validation Test Plan and Strategy](046_Validation_Test_Plan_and_Strategy.md) |
| Input | QCL-2026-MTS-001 | [Master Test Scripts and Test Data Catalogue](047_Master_Test_Scripts_and_Test_Data_Catalogue.md) |
| Input | QCL-2026-IQ-001 | [Installation Qualification Protocol and Report](048_Installation_Qualification_Protocol_and_Report.md) |
| Output | QCL-2026-PQ-001 | [Performance Qualification and User Acceptance Test Report](050_Performance_Qualification_and_UAT_Report.md) |
| Output | QCL-2026-ATC-001 | [Audit Trail Challenge Test Report](054_Audit_Trail_Challenge_Test_Report.md) |
| Output | QCL-2026-DEF-001 | [Defect Log and Resolution Report](060_Defect_Log_and_Resolution_Report.md) |
| Output | QCL-2026-DEV-001 | [Validation Deviation Log and Investigation Report](061_Validation_Deviation_Log_and_Investigation_Report.md) |
| Output | QCL-2026-TSR-001 | [Test Summary Report](063_Test_Summary_Report.md) |
| Output | QCL-2026-RTM-002 | [Final Requirements Traceability Matrix](064_Final_Requirements_Traceability_Matrix.md) |
| Output | QCL-2026-VSR-001 | [Validation Summary Report](065_Validation_Summary_Report.md) |

# Approval record

| Approval step | Role | Case outcome |
| --- | --- | --- |
| Prepared by | Test Lead | Completed |
| Reviewed by | Business Process Owner | Completed |
| Approved by | QA Validation Manager | Approved in fictional case |

# Revision history

| Version | Date | Change |
| --- | --- | --- |
| 1.0 | 2027-04-30 | Initial approved fictional case version. |