GMP CSV Controlled Document

Final Requirements Traceability Matrix

QCLabOne 2.0 QC Laboratory Digital Platform Replacement Project

| Control Field | Value |
| --- | --- |
| Document number | QCL-2026-RTM-002 |
| System | QCLabOne 2.0 LIMS/LES |
| Lifecycle phase | Traceability |
| Version | 1.0 |
| Effective/record date | 2027-06-05 |
| Status | Approved in fictional case |

Use notice: This Markdown file is a fully populated fictional CSV training case. It is not an executed GMP record and does not replace company procedures, approved signatures, supplier evidence, or site-specific risk decisions.

# Document control

| Field | Value |
| --- | --- |
| Document number | QCL-2026-RTM-002 |
| Company | NovaSterile Pharma Co., Ltd. |
| Site | Suzhou Sterile Products Manufacturing Site |
| Project | QCLabOne 2.0 QC Laboratory Digital Platform Replacement Project |
| System | QCLabOne 2.0 LIMS/LES |
| Lifecycle phase | Traceability |
| Version | 1.0 |
| Effective/record date | 2027-06-05 |
| Case status | Approved in fictional case |

# Governing references

China GMP (2010 Revision), Appendix: Computerised Systems (effective 1 December 2015)

China GMP (2010 Revision), Appendix: Qualification and Validation (effective 1 December 2015)

EU GMP Annex 11: Computerised Systems (2011)

EU GMP Annex 15: Qualification and Validation (2015)

21 CFR Part 11: Electronic Records; Electronic Signatures

FDA Guidance: Part 11, Electronic Records; Electronic Signatures — Scope and Application

PIC/S PI 041-1: Good Practices for Data Management and Integrity in Regulated GMP/GDP Environments (2021)

ISPE GAMP 5, Second Edition (2022), used as non-binding industry guidance

# 1. Purpose

This final RTM demonstrates end-to-end traceability from approved requirements through risk, functional/design controls and completed verification.

# 2. Final matrix

| URS | FRA reference | Specification | Executed evidence | Deviation | Final result |
| --- | --- | --- | --- | --- | --- |
| URS-GEN-001 | FRA-033 | FS-GEN-003 | PQ-001, PQ-003, PQ-004 | None | Pass |
| URS-GEN-002 | FRA-003 | FS-GEN-002 | OQ-GEN-002 | None | Pass |
| URS-GEN-003 | FRA-033 | FS-GEN-001 | OQ-GEN-001 | None | Pass |
| URS-GEN-004 | FRA-024 | FS-GEN-002 | IQ-005, OQ-DI-001 | None | Pass |
| URS-GEN-005 | FRA-034 | FS-GEN-001, FS-SPEC-003 | IQ-013, OQ-GEN-002 | None | Pass |
| URS-SMP-001 | FRA-001, FRA-002 | FS-SMP-001 | OQ-SMP-001, IFT-SAP-001 | None | Pass |
| URS-SMP-002 | FRA-003 | FS-SMP-002 | OQ-SMP-001 | None | Pass |
| URS-SMP-003 | FRA-004 | FS-SMP-003 | OQ-SMP-002 | None | Pass |
| URS-SMP-004 | FRA-004 | FS-SMP-003 | OQ-SMP-002, PQ-006 | None | Pass |
| URS-SMP-005 | FRA-005 | FS-SMP-004 | OQ-SMP-003 | None | Pass |
| URS-SMP-006 | FRA-006 | FS-SMP-004 | OQ-SMP-003 | None | Pass |
| URS-SMP-007 | FRA-004 | FS-SMP-003 | OQ-SMP-002 | None | Pass |
| URS-SMP-008 | FRA-007 | FS-SMP-005 | OQ-SMP-004, PQ-004 | None | Pass |
| URS-SPEC-001 | FRA-005 | FS-SPEC-001 | OQ-SPEC-001 | None | Pass |
| URS-SPEC-002 | FRA-008 | FS-SPEC-001 | OQ-SPEC-001, SEC-001 | None | Pass |
| URS-SPEC-003 | FRA-009 | FS-SPEC-001 | OQ-SPEC-002 | None | Pass |
| URS-SPEC-004 | FRA-016 | FS-SPEC-002 | OQ-SPEC-003 | None | Pass |
| URS-SPEC-005 | FRA-008 | FS-SPEC-003 | OQ-SPEC-001, EST-001 | None | Pass |
| URS-LES-001 | FRA-010 | FS-LES-001 | OQ-LES-001 | None | Pass |
| URS-LES-002 | FRA-010 | FS-LES-001 | OQ-LES-001 | None | Pass |
| URS-LES-003 | FRA-011 | FS-LES-002 | OQ-LES-002 | None | Pass |
| URS-LES-004 | FRA-012 | FS-LES-003 | OQ-LES-003 | None | Pass |
| URS-LES-005 | FRA-013 | FS-LES-004 | OQ-LES-004 | None | Pass |
| URS-LES-006 | FRA-014 | FS-LES-005 | OQ-LES-005 | None | Pass |
| URS-LES-007 | FRA-015 | FS-LES-006 | OQ-LES-006, SEC-002 | None | Pass |
| URS-LES-008 | FRA-010 | FS-LES-005 | OQ-LES-005, PQ-010 | None | Pass |
| URS-CALC-001 | FRA-016 | FS-CALC-001 | OQ-CALC-001 | None | Pass |
| URS-CALC-002 | FRA-016 | FS-CALC-002 | OQ-CALC-002 | None | Pass |
| URS-CALC-003 | FRA-017 | FS-CALC-003 | OQ-CALC-003 | None | Pass |
| URS-CALC-004 | FRA-016 | FS-CALC-003 | OQ-CALC-002 | None | Pass |
| URS-CALC-005 | FRA-017 | FS-CALC-004 | OQ-CALC-003, REG-007 | None | Pass |
| URS-INT-001 | FRA-001, FRA-020 | FS-SMP-001, FS-INT-001 | IFT-SAP-001, IFT-SAP-003, PQ-009 | None | Pass |
| URS-INT-002 | FRA-018 | FS-INT-002 | IFT-EQM-001, IFT-EQM-002, PQ-005 | DEV-003 closed | Pass |
| URS-INT-003 | FRA-019 | FS-INT-003 | IFT-CDS-001, IFT-CDS-002, PQ-002 | None | Pass |
| URS-INT-004 | FRA-020 | FS-INT-004 | IFT-INS-002 | None | Pass |
| URS-INT-005 | FRA-020 | FS-INT-004 | IFT-SAP-003, IFT-INS-002 | None | Pass |
| URS-INT-006 | FRA-020 | FS-INT-005 | IFT-ALL-001, PQ-007 | None | Pass |
| URS-SEC-001 | FRA-021 | FS-SEC-001 | OQ-SEC-001 | None | Pass |
| URS-SEC-002 | FRA-022 | FS-SEC-002 | SEC-001 | None | Pass |
| URS-SEC-003 | FRA-022 | FS-SEC-002 | SEC-002 | None | Pass |
| URS-SEC-004 | FRA-021 | FS-SEC-003 | OQ-SEC-003 | None | Pass |
| URS-SEC-005 | FRA-021 | FS-SEC-003 | SEC-003 | None | Pass |
| URS-SEC-006 | FRA-023 | FS-SEC-004 | OQ-SEC-004 | None | Pass |
| URS-SEC-007 | FRA-022 | FS-SEC-005 | SEC-004 | None | Pass |
| URS-DI-001 | FRA-024 | FS-DI-001 | ATC-001, ATC-002, ATC-005 | DEV-001 closed | Pass |
| URS-DI-002 | FRA-024 | FS-DI-002 | ATC-003 | DEV-001 closed | Pass |
| URS-DI-003 | FRA-025 | FS-DI-001 | ATC-004 | None | Pass |
| URS-DI-004 | FRA-025 | FS-DI-003 | ATC-004, PQ-008 | None | Pass |
| URS-DI-005 | FRA-031 | FS-DI-004 | DMT-005, PQ-011 | None | Pass |
| URS-DI-006 | FRA-031 | FS-DI-004 | OQ-DI-002 | None | Pass |
| URS-DI-007 | FRA-030 | FS-DI-005 | DMT-001, DMT-002, DMT-003, DMT-004 | DEV-002 closed | Pass |
| URS-DI-008 | FRA-024 | FS-DI-006 | IQ-005, OQ-DI-001 | None | Pass |
| URS-ESIG-001 | FRA-026 | FS-ESIG-001 | EST-001, EST-003 | None | Pass |
| URS-ESIG-002 | FRA-026 | FS-ESIG-002 | EST-002 | None | Pass |
| URS-ESIG-003 | FRA-026 | FS-ESIG-001 | EST-001, EST-004 | None | Pass |
| URS-ESIG-004 | FRA-026 | FS-ESIG-002 | EST-003 | None | Pass |
| URS-REP-001 | FRA-027 | FS-REP-001 | RPT-001, PQ-009 | None | Pass |
| URS-REP-002 | FRA-027 | FS-REP-001 | RPT-001, RPT-002 | None | Pass |
| URS-REP-003 | FRA-027 | FS-REP-002 | RPT-003 | None | Pass |
| URS-REP-004 | FRA-027 | FS-REP-002 | RPT-004 | None | Pass |
| URS-BCP-001 | FRA-028 | FS-BCP-001 | BRT-001 | None | Pass |
| URS-BCP-002 | FRA-029 | FS-BCP-002 | DRT-002, DRT-003 | None | Pass |
| URS-BCP-003 | FRA-028 | FS-BCP-001 | BRT-002, BRT-003, BRT-004 | None | Pass |
| URS-BCP-004 | FRA-029 | FS-BCP-002 | DRT-004, PQ-007 | None | Pass |
| URS-MIG-001 | FRA-030 | FS-MIG-001 | DMT-001, DMT-002, DMT-004 | DEV-002 closed | Pass |
| URS-MIG-002 | FRA-031 | FS-MIG-001 | DMT-005, PQ-011 | None | Pass |
| URS-MIG-003 | FRA-030 | FS-MIG-002 | DMT-006 | DEV-002 closed | Pass |
| URS-MIG-004 | FRA-032 | FS-MIG-002 | DMT-001 | None | Pass |
| URS-OPS-001 | FRA-033 | FS-OPS-001 | OQ-OPS-001, PQ-012 | None | Pass |
| URS-OPS-002 | FRA-034 | FS-OPS-002 | PQ-012, SPR-Review | None | Pass |
| URS-OPS-003 | FRA-033 | FS-OPS-001 | PQ-012, PRR-001 | None | Pass |
| URS-OPS-004 | FRA-035 | FS-OPS-002 | PQ-011, RET-Verification | None | Pass |

# 3. Coverage conclusion

All 72 URS are approved and covered. All Must requirements passed. No requirement is deferred or not applicable. Deviations linked to affected requirements are closed.

# 4. Related documents

| Relationship | Document ID | Document |
| --- | --- | --- |
| Input | QCL-2026-URS-001 | [User Requirements Specification](022_User_Requirements_Specification.md) |
| Input | QCL-2026-FRA-001 | [Functional Risk Assessment](038_Functional_Risk_Assessment.md) |
| Input | QCL-2026-RTM-001 | [Initial Requirements Traceability Matrix](039_Initial_Requirements_Traceability_Matrix.md) |
| Input | QCL-2026-MTS-001 | [Master Test Scripts and Test Data Catalogue](047_Master_Test_Scripts_and_Test_Data_Catalogue.md) |
| Input | QCL-2026-IQ-001 | [Installation Qualification Protocol and Report](048_Installation_Qualification_Protocol_and_Report.md) |
| Input | QCL-2026-OQ-001 | [Operational Qualification Protocol and Report](049_Operational_Qualification_Protocol_and_Report.md) |
| Input | QCL-2026-PQ-001 | [Performance Qualification and User Acceptance Test Report](050_Performance_Qualification_and_UAT_Report.md) |
| Input | QCL-2026-IFT-001 | [Interface Test Protocol and Report](051_Interface_Test_Protocol_and_Report.md) |
| Input | QCL-2026-DMT-001 | [Data Migration Test and Reconciliation Report](052_Data_Migration_Test_and_Reconciliation_Report.md) |
| Input | QCL-2026-SEC-001 | [Security, Access and Segregation of Duties Test Report](053_Security_Access_and_Segregation_of_Duties_Test.md) |
| Input | QCL-2026-ATC-001 | [Audit Trail Challenge Test Report](054_Audit_Trail_Challenge_Test_Report.md) |
| Input | QCL-2026-EST-001 | [Electronic Signature Test Report](055_Electronic_Signature_Test_Report.md) |
| Input | QCL-2026-BRT-001 | [Backup and Restore Test Report](056_Backup_and_Restore_Test_Report.md) |
| Input | QCL-2026-PLC-001 | [Performance, Load and Capacity Test Report](057_Performance_Load_and_Capacity_Test_Report.md) |
| Input | QCL-2026-DRT-001 | [Failover and Disaster Recovery Test Report](058_Failover_and_Disaster_Recovery_Test_Report.md) |
| Input | QCL-2026-RPT-001 | [Report, Print and Export Verification Report](059_Report_Print_and_Export_Verification_Report.md) |
| Input | QCL-2026-DEV-001 | [Validation Deviation Log and Investigation Report](061_Validation_Deviation_Log_and_Investigation_Report.md) |
| Input | QCL-2026-TSR-001 | [Test Summary Report](063_Test_Summary_Report.md) |
| Output | QCL-2026-VSR-001 | [Validation Summary Report](065_Validation_Summary_Report.md) |
| Output | QCL-2028-FDI-001 | [Final Validation and Retirement Dossier Index](108_Final_Validation_and_Retirement_Dossier_Index.md) |

# Approval record

| Approval step | Role | Case outcome |
| --- | --- | --- |
| Prepared by | CSV Lead | Completed |
| Reviewed by | System Owner | Completed |
| Approved by | QA Validation Manager | Approved in fictional case |

# Revision history

| Version | Date | Change |
| --- | --- | --- |
| 1.0 | 2027-06-05 | Initial approved fictional case version. |