GMP CSV Controlled Document

QCLabOne 2.0 System Administration SOP

QCLabOne 2.0 QC Laboratory Digital Platform Replacement Project

| Control Field | Value |
| --- | --- |
| Document number | SOP-IT-LIMS-001 |
| System | QCLabOne 2.0 LIMS/LES |
| Lifecycle phase | SOP and Training |
| Version | 1.0 |
| Effective/record date | 2027-05-31 |
| Status | Approved in fictional case |

Use notice: This Markdown file is a fully populated fictional CSV training case. It is not an executed GMP record and does not replace company procedures, approved signatures, supplier evidence, or site-specific risk decisions.

# Document control

| Field | Value |
| --- | --- |
| Document number | SOP-IT-LIMS-001 |
| Company | NovaSterile Pharma Co., Ltd. |
| Site | Suzhou Sterile Products Manufacturing Site |
| Project | QCLabOne 2.0 QC Laboratory Digital Platform Replacement Project |
| System | QCLabOne 2.0 LIMS/LES |
| Lifecycle phase | SOP and Training |
| Version | 1.0 |
| Effective/record date | 2027-05-31 |
| Case status | Approved in fictional case |

# Governing references

China GMP (2010 Revision), Appendix: Computerised Systems (effective 1 December 2015)

China GMP (2010 Revision), Appendix: Qualification and Validation (effective 1 December 2015)

EU GMP Annex 11: Computerised Systems (2011)

EU GMP Annex 15: Qualification and Validation (2015)

21 CFR Part 11: Electronic Records; Electronic Signatures

FDA Guidance: Part 11, Electronic Records; Electronic Signatures — Scope and Application

PIC/S PI 041-1: Good Practices for Data Management and Integrity in Regulated GMP/GDP Environments (2021)

ISPE GAMP 5, Second Edition (2022), used as non-binding industry guidance

# 1. Purpose

This SOP controls QCLabOne administration, access execution, approved configuration promotion, master-data support, interface operations and technical troubleshooting.

# 2. Administrative principles

Administrators execute approved requests; they do not approve their own privileged access or configuration.

Production administration uses named privileged accounts separate from ordinary user accounts.

Administrators shall not create, alter or approve QC results.

Direct database modification is prohibited except under an approved emergency recovery plan with QA oversight and documented reconciliation.

Vendor access is disabled by default and tied to a ticket/window.

# 3. User access administration

1. Verify approved request, training status, manager/BPO approval and any QA approval. 2. Assign only approved role groups. 3. Perform a second-person check for privileged or high-risk roles. 4. Record actual execution date/time and administrator. 5. Disable access immediately for termination and promptly for transfer/suspension. 6. Retain evidence and include accounts in periodic review.

# 4. Configuration and master-data promotion

Approved package must identify change record, source environment, version, checksum, affected URS/risk/test and rollback. A separate administrator promotes to production. Post-promotion verification confirms package/version, key controls and monitoring.

# 5. Interface administration

Monitor queues and reconciliation. Do not edit message payloads in place. Reprocessing requires approved role, documented cause and audit trail. A systematic or unexplained error requires incident/problem management.

# 6. Audit, logs and time

Do not disable audit trails, security logging or time synchronization. Any outage/change to these services is a potential GxP incident. Export logs through approved functions; protect copies from alteration.

# 7. Backup/restore and recovery

Follow the approved operations SOP. Restore requires an authorised ticket, defined recovery point, isolated target and post-restore business/QA verification.

# 8. Break-glass accounts

Two sealed accounts are held by IT Security. Use requires Incident Commander and QA approval where practicable, immediate notification, full session review and password reset/reseal. Quarterly non-production functionality check is documented.

# 9. Related documents

| Relationship | Document ID | Document |
| --- | --- | --- |
| Input | QCL-2026-CS-001 | [Configuration Specification](025_Configuration_Specification.md) |
| Input | QCL-2026-IAD-001 | [Infrastructure and Architecture Design](026_Infrastructure_and_Architecture_Design.md) |
| Input | QCL-2026-RAC-001 | [Role and Access Control Matrix](031_Role_and_Access_Control_Matrix.md) |
| Input | QCL-2026-BRS-001 | [Backup and Restore Specification](034_Backup_and_Restore_Specification.md) |
| Input | QCL-2026-BLD-001 | [Installation, Build and Configuration Record](040_Installation_Build_and_Configuration_Record.md) |
| Input | QCL-2026-CIR-001 | [Configuration Item and Version Register](041_Configuration_Item_and_Version_Register.md) |
| Input | QCL-2026-SEC-001 | [Security, Access and Segregation of Duties Test Report](053_Security_Access_and_Segregation_of_Duties_Test.md) |
| Input | QCL-2026-VSR-001 | [Validation Summary Report](065_Validation_Summary_Report.md) |
| Output | SOP-IT-LIMS-002 | [QCLabOne 2.0 Operations, Maintenance, Backup, Incident, Change and Security SOP](069_Operations_Maintenance_Backup_Incident_Change_and_Security_SOP.md) |
| Output | QCL-2026-HOV-001 | [System Handover and Support Model](076_System_Handover_and_Support_Model.md) |
| Output | QCL-2027-UAR-001 | [User Access Request and Approval Records](078_User_Access_Request_and_Approval_Records.md) |
| Output | QCL-2027-UAR-002 | [Periodic User Access Review Report](079_Periodic_User_Access_Review_Report.md) |
| Output | QCL-2027-SOD-001 | [Segregation of Duties and Privileged Access Review](080_Segregation_of_Duties_and_Privileged_Access_Review.md) |
| Output | QCL-2027-BML-001 | [Backup Monitoring Log and Exception Record](083_Backup_Monitoring_Log_and_Exception_Record.md) |
| Output | QCL-2027-RST-001 | [Periodic Restore Test Report](084_Periodic_Restore_Test_Report.md) |
| Output | QCL-2027-CHG-021 | [Change Control Record](088_Change_Control_Record.md) |
| Output | QCL-2027-CHG-021-C | [Change Implementation Verification and Closure](091_Change_Implementation_Verification_and_Closure.md) |

# Approval record

| Approval step | Role | Case outcome |
| --- | --- | --- |
| Prepared by | Training/Procedure Owner | Completed |
| Reviewed by | System Owner | Completed |
| Approved by | QA Department Head | Approved in fictional case |

# Revision history

| Version | Date | Change |
| --- | --- | --- |
| 1.0 | 2027-05-31 | Initial approved fictional case version. |