GMP CSV Controlled Document

Training Plan, Materials and Training Record

QCLabOne 2.0 QC Laboratory Digital Platform Replacement Project

| Control Field | Value |
| --- | --- |
| Document number | QCL-2026-TRN-001 |
| System | QCLabOne 2.0 LIMS/LES |
| Lifecycle phase | SOP and Training |
| Version | 1.0 |
| Effective/record date | 2027-05-31 |
| Status | Approved in fictional case |

Use notice: This Markdown file is a fully populated fictional CSV training case. It is not an executed GMP record and does not replace company procedures, approved signatures, supplier evidence, or site-specific risk decisions.

# Document control

| Field | Value |
| --- | --- |
| Document number | QCL-2026-TRN-001 |
| Company | NovaSterile Pharma Co., Ltd. |
| Site | Suzhou Sterile Products Manufacturing Site |
| Project | QCLabOne 2.0 QC Laboratory Digital Platform Replacement Project |
| System | QCLabOne 2.0 LIMS/LES |
| Lifecycle phase | SOP and Training |
| Version | 1.0 |
| Effective/record date | 2027-05-31 |
| Case status | Approved in fictional case |

# Governing references

China GMP (2010 Revision), Appendix: Computerised Systems (effective 1 December 2015)

China GMP (2010 Revision), Appendix: Qualification and Validation (effective 1 December 2015)

EU GMP Annex 11: Computerised Systems (2011)

EU GMP Annex 15: Qualification and Validation (2015)

21 CFR Part 11: Electronic Records; Electronic Signatures

FDA Guidance: Part 11, Electronic Records; Electronic Signatures — Scope and Application

PIC/S PI 041-1: Good Practices for Data Management and Integrity in Regulated GMP/GDP Environments (2021)

ISPE GAMP 5, Second Edition (2022), used as non-binding industry guidance

# 1. Training objective

Ensure each user has the knowledge and demonstrated ability required for assigned system activities before production access.

# 2. Curriculum and completion

| Role | Curriculum | Method | Completion by 2027-06-10 |
| --- | --- | --- | --- |
| Analyst | 66 User Operation SOP; data integrity; LES; direct/manual entry; e-signature; OOS/outage | Instructor-led + hands-on assessment | 42/42 complete |
| Reviewer | Analyst core plus source/audit-trail review, calculation and review signature | Instructor-led + scenario assessment | 16/16 complete |
| QC Supervisor | Assignment, exceptions, approval, contingency and reporting | Workshop + assessment | 8/8 complete |
| QA Reviewer | Audit-trail review, Part 11, OOS link, release/inspection retrieval | Workshop + assessment | 6/6 complete |
| Master Data Steward | Specification/calculation/master-data lifecycle and change control | Hands-on assessment | 5/5 complete |
| System Administrator | Administration SOP, access, configuration, interfaces, logs and recovery | Technical qualification | 4/4 complete |
| IT Support | Infrastructure, monitoring, backup/restore, incident/security and DR | Technical qualification | 7/7 complete |
| Vendor Support | Site quality agreement, remote access, change and incident rules | Acknowledgement + briefing | 9/9 complete |

# 3. Assessment criteria

Knowledge assessment pass mark is 80%. Hands-on assessment requires successful completion of a role-relevant scenario without critical error. A failed assessment requires retraining and reassessment; access is not granted until passed.

# 4. Training materials

TRN-M01 system/intended use; M02 sample/LES; M03 data integrity and corrections; M04 review/audit trail; M05 OOS/OOT; M06 e-signature; M07 contingency; M08 administration/security; M09 backup/incident/change; M10 archive/retrieval.

# 5. Access linkage

The access request references the completed training curriculum and role. Training expiry, role change or major system/process change triggers reassessment.

# 6. Record conclusion

All 97 planned participants completed required training before go-live. No production account was enabled solely on attendance without required assessment.

# 7. Related documents

| Relationship | Document ID | Document |
| --- | --- | --- |
| Input | QCL-2026-RAC-001 | [Role and Access Control Matrix](031_Role_and_Access_Control_Matrix.md) |
| Input | QCL-2026-ESS-001 | [Electronic Signature Specification](033_Electronic_Signature_Specification.md) |
| Input | QCL-2026-PQ-001 | [Performance Qualification and User Acceptance Test Report](050_Performance_Qualification_and_UAT_Report.md) |
| Input | QCL-2026-EST-001 | [Electronic Signature Test Report](055_Electronic_Signature_Test_Report.md) |
| Input | QCL-2026-VSR-001 | [Validation Summary Report](065_Validation_Summary_Report.md) |
| Input | SOP-QC-LIMS-001 | [QCLabOne 2.0 User Operation SOP](066_User_Operation_SOP.md) |
| Input | SOP-IT-LIMS-001 | [QCLabOne 2.0 System Administration SOP](067_System_Administration_SOP.md) |
| Input | SOP-QA-ATR-001 | [QCLabOne 2.0 Audit Trail Review SOP](068_Audit_Trail_Review_SOP.md) |
| Input | SOP-IT-LIMS-002 | [QCLabOne 2.0 Operations, Maintenance, Backup, Incident, Change and Security SOP](069_Operations_Maintenance_Backup_Incident_Change_and_Security_SOP.md) |
| Input | SOP-QA-ARC-001 | [Data Retention, Archiving and Record Retrieval SOP](070_Data_Retention_Archiving_and_Record_Retrieval_SOP.md) |
| Output | QCL-2026-PRC-001 | [Production Readiness Checklist](074_Production_Readiness_Checklist.md) |
| Output | QCL-2026-GLA-001 | [Go-Live and Production Release Approval](075_Go_Live_and_Production_Release_Approval.md) |
| Output | QCL-2027-UAR-001 | [User Access Request and Approval Records](078_User_Access_Request_and_Approval_Records.md) |

# Approval record

| Approval step | Role | Case outcome |
| --- | --- | --- |
| Prepared by | Training/Procedure Owner | Completed |
| Reviewed by | System Owner | Completed |
| Approved by | QA Department Head | Approved in fictional case |

# Revision history

| Version | Date | Change |
| --- | --- | --- |
| 1.0 | 2027-05-31 | Initial approved fictional case version. |