GMP CSV Controlled Document

Production Readiness Checklist

QCLabOne 2.0 QC Laboratory Digital Platform Replacement Project

| Control Field | Value |
| --- | --- |
| Document number | QCL-2026-PRC-001 |
| System | QCLabOne 2.0 LIMS/LES |
| Lifecycle phase | Release |
| Version | 1.0 |
| Effective/record date | 2027-06-15 |
| Status | Approved in fictional case |

Use notice: This Markdown file is a fully populated fictional CSV training case. It is not an executed GMP record and does not replace company procedures, approved signatures, supplier evidence, or site-specific risk decisions.

# Document control

| Field | Value |
| --- | --- |
| Document number | QCL-2026-PRC-001 |
| Company | NovaSterile Pharma Co., Ltd. |
| Site | Suzhou Sterile Products Manufacturing Site |
| Project | QCLabOne 2.0 QC Laboratory Digital Platform Replacement Project |
| System | QCLabOne 2.0 LIMS/LES |
| Lifecycle phase | Release |
| Version | 1.0 |
| Effective/record date | 2027-06-15 |
| Case status | Approved in fictional case |

# Governing references

China GMP (2010 Revision), Appendix: Computerised Systems (effective 1 December 2015)

China GMP (2010 Revision), Appendix: Qualification and Validation (effective 1 December 2015)

EU GMP Annex 11: Computerised Systems (2011)

EU GMP Annex 15: Qualification and Validation (2015)

21 CFR Part 11: Electronic Records; Electronic Signatures

FDA Guidance: Part 11, Electronic Records; Electronic Signatures — Scope and Application

PIC/S PI 041-1: Good Practices for Data Management and Integrity in Regulated GMP/GDP Environments (2021)

ISPE GAMP 5, Second Edition (2022), used as non-binding industry guidance

# 1. Production readiness checklist

| Readiness item | Evidence/criterion | Status |
| --- | --- | --- |
| Approved VSR | QCL-2026-VSR-001 approved | Complete |
| Final RTM | 72/72 requirements pass | Complete |
| Defects/deviations | No open Critical/High; all validation deviations closed | Complete |
| Production migration | Counts/critical fields/attachments accepted | Complete |
| SOPs effective | Documents 066–070 effective | Complete |
| Training | 97/97 required users complete | Complete |
| Production baseline | Version/configuration/checksum verified | Complete |
| Access | Initial access requests approved; privileged roles independently checked | Complete |
| Interfaces | SAP/eQMS/CDS/instruments smoke tests pass | Complete |
| Backup/DR | Initial production backup successful; tested recovery evidence available | Complete |
| Support/hypercare | Roster, escalation and supplier contacts active | Complete |
| Legacy continuity | Legacy LIMS read-only and archive/retirement plan active | Complete |
| Open quality/system issues | None preventing release | Complete |

# 2. Open items

Two low-priority post-go-live enhancements were recorded outside release scope: optional dashboard colour preference and a non-GMP export shortcut. Neither affects intended use or control; both require normal change control if pursued.

# 3. Readiness conclusion

All mandatory release criteria are complete. The System Owner recommends go-live; the BPO confirms business readiness; QA confirms no quality objection.

# 4. Related documents

| Relationship | Document ID | Document |
| --- | --- | --- |
| Input | QCL-2026-TSR-001 | [Test Summary Report](063_Test_Summary_Report.md) |
| Input | QCL-2026-RTM-002 | [Final Requirements Traceability Matrix](064_Final_Requirements_Traceability_Matrix.md) |
| Input | QCL-2026-VSR-001 | [Validation Summary Report](065_Validation_Summary_Report.md) |
| Input | SOP-QC-LIMS-001 | [QCLabOne 2.0 User Operation SOP](066_User_Operation_SOP.md) |
| Input | SOP-IT-LIMS-001 | [QCLabOne 2.0 System Administration SOP](067_System_Administration_SOP.md) |
| Input | SOP-QA-ATR-001 | [QCLabOne 2.0 Audit Trail Review SOP](068_Audit_Trail_Review_SOP.md) |
| Input | SOP-IT-LIMS-002 | [QCLabOne 2.0 Operations, Maintenance, Backup, Incident, Change and Security SOP](069_Operations_Maintenance_Backup_Incident_Change_and_Security_SOP.md) |
| Input | SOP-QA-ARC-001 | [Data Retention, Archiving and Record Retrieval SOP](070_Data_Retention_Archiving_and_Record_Retrieval_SOP.md) |
| Input | QCL-2026-TRN-001 | [Training Plan, Materials and Training Record](071_Training_Plan_Materials_and_Training_Record.md) |
| Input | QCL-2026-CUT-001 | [Cutover, Rollback and Contingency Plan](072_Cutover_Rollback_and_Contingency_Plan.md) |
| Input | QCL-2026-PDM-001 | [Production Data Migration Execution and Reconciliation Record](073_Production_Data_Migration_Execution_and_Reconciliation_Record.md) |
| Input | QCL-2026-PBL-001 | [Production Baseline and Approved Configuration Record](077_Production_Baseline_and_Approved_Configuration_Record.md) |
| Output | QCL-2026-GLA-001 | [Go-Live and Production Release Approval](075_Go_Live_and_Production_Release_Approval.md) |
| Output | QCL-2026-HOV-001 | [System Handover and Support Model](076_System_Handover_and_Support_Model.md) |

# Approval record

| Approval step | Role | Case outcome |
| --- | --- | --- |
| Prepared by | System Owner | Completed |
| Reviewed by | QC Business Process Owner | Completed |
| Approved by | Site Quality Head | Approved in fictional case |

# Revision history

| Version | Date | Change |
| --- | --- | --- |
| 1.0 | 2027-06-15 | Initial approved fictional case version. |