GMP CSV Controlled Document

Computerised System Inventory Update—Retired Status

QCLabOne 2.0 QC Laboratory Digital Platform Replacement Project

| Control Field | Value |
| --- | --- |
| Document number | CSI-SZ-001-CHG-2028-03 |
| System | QCLabOne 2.0 LIMS/LES |
| Lifecycle phase | Retirement |
| Version | 1.0 |
| Effective/record date | 2028-03-31 |
| Status | Approved/Closed in fictional retirement record |

Use notice: This Markdown file is a fully populated fictional CSV training case. It is not an executed GMP record and does not replace company procedures, approved signatures, supplier evidence, or site-specific risk decisions.

# Document control

| Field | Value |
| --- | --- |
| Document number | CSI-SZ-001-CHG-2028-03 |
| Company | NovaSterile Pharma Co., Ltd. |
| Site | Suzhou Sterile Products Manufacturing Site |
| Project | QCLabOne 2.0 QC Laboratory Digital Platform Replacement Project |
| System | QCLabOne 2.0 LIMS/LES |
| Lifecycle phase | Retirement |
| Version | 1.0 |
| Effective/record date | 2028-03-31 |
| Case status | Approved/Closed in fictional retirement record |

# Governing references

China GMP (2010 Revision), Appendix: Computerised Systems (effective 1 December 2015)

China GMP (2010 Revision), Appendix: Qualification and Validation (effective 1 December 2015)

EU GMP Annex 11: Computerised Systems (2011)

EU GMP Annex 15: Qualification and Validation (2015)

21 CFR Part 11: Electronic Records; Electronic Signatures

FDA Guidance: Part 11, Electronic Records; Electronic Signatures — Scope and Application

PIC/S PI 041-1: Good Practices for Data Management and Integrity in Regulated GMP/GDP Environments (2021)

ISPE GAMP 5, Second Edition (2022), used as non-binding industry guidance

# 1. Inventory change

The site Computerised System Inventory was updated after Legacy LIMS retirement.

# 2. Updated entries

| ID | System | Lifecycle status | Validation/record status | Owner | Next action |
| --- | --- | --- | --- | --- | --- |
| SYS-001 | QCLabOne 2.0 LIMS/LES | Production | Validated; baseline 1.1 | QC System Owner | Next review 2029-03-15 |
| SYS-002 | QCL-IGW-01 Interface Gateway | Production | Qualified/controlled | IT System Owner | Next review 2029-03-15 |
| SYS-007 | Legacy LIMS 6.2 | Retired 2028-03-31 | Decommissioned; official records in ArchiveVault | Records Management Owner | No periodic system review; archive review applies |
| SYS-008 | Controlled QC Excel Registers | Replaced/archived | No longer approved for in-scope final GMP processing | QC Process Owners | Retain sources per archive plan |
| SYS-009 | ArchiveVault | Production | Qualified official archive | Records Management Owner | Next review 2029-03-15 |

# 3. Retirement metadata

Retirement report: QCL-2028-RSR-001. Archive location: ArchiveVault tenant ARC-NSP-SZ-01. Shutdown date/time: 2028-03-31 10:20 CST. Final sealed image action due: 2028-06-30.

# 4. Conclusion

The inventory accurately reflects current ownership and lifecycle state. Legacy LIMS is no longer an active computerised system; ArchiveVault remains active and validated.

# 5. Related documents

| Relationship | Document ID | Document |
| --- | --- | --- |
| Input | CSI-SZ-001 | [Site Computerised System Inventory](003_Computerised_System_Inventory.md) |
| Input | QCL-2028-DCL-001 | [Legacy System Decommissioning Checklist](105_Legacy_System_Decommissioning_Checklist.md) |
| Input | QCL-2028-RSR-001 | [Legacy LIMS Retirement Summary Report](106_Legacy_LIMS_Retirement_Summary_Report.md) |
| Output | QCL-2028-FDI-001 | [Final Validation and Retirement Dossier Index](108_Final_Validation_and_Retirement_Dossier_Index.md) |

# Approval record

| Approval step | Role | Case outcome |
| --- | --- | --- |
| Prepared by | Legacy System Owner | Completed |
| Reviewed by | Records Management Owner | Completed |
| Approved by | Site Quality Head | Approved in fictional case |

# Revision history

| Version | Date | Change |
| --- | --- | --- |
| 1.0 | 2028-03-31 | Initial approved fictional case version. |